## Instructions
Instruction for use of Attachment 02
Instructions for Powered Infusion Pump Tab Answer all specifications/questions(if answers very significantly depending on pump purchasing model type-it is acceptable to add an additional column per model type if this makes it clearer) If any of the specifications/questions do not apply put N/A with rationale Please do not alter the worksheet format in any way. Please list all Infusion Pump Devices in a Separate column Please submit this document in an excel format document (not pdf). All prices to be submitted in $NZ All prices to exclude GST. Free Into Store (FIS) delivery is the preferred pricing model. All rows must be completed for every product submitted - do not leave any cells blank. If the requested information is not known please write TBC (to be confirmed) and the date you expect to be able to submit the requested information to PHARMAC eg TBC -5 October 2018
Instructions for other Tabs Please ensure that all instructions as written at the top any of the worksheets and in the worksheet column headings, have been followed. Provision of all requested information is mandatory except for GS1(GTIN) and UNSPSC numbers. Provision of GS1(GTIN) and UNSPSC numbers is desirable. Please do not alter the document format in any way. Please do not leave blank rows between products. Please list all sizes in the range of products on a separate line. Please submit this document in an excel format document (not pdf). All prices to be submitted in $NZ All prices to exclude GST. Free Into Store (FIS) delivery is the preferred pricing model. All columns must be completed for every product submitted - do not leave any cells blank. If the requested information is not known please write TBC (to be confirmed) and the date you expect to be able to submit the requested information to PHARMAC eg TBC -5 October 2018 Please state (N/A) where a column is not applicable to your product. The 'UNSPSC #' Tab includes suggested UNSPSC codes, however you may enter a different code for your product where appropriate. In the full product description section please use metric units not imperial units (e.g. mm not inches)

## UNSPSC #
UNSPSC codes for submitters reference- intended as a guide only, you should use the most appropriate UNSPSC commodity number even if not listed below
UNSPSC Class # | UNSPSC Class Title | UNSPSC Commodity # | UNSPSC Commodity Title
42221500 | Intravenous and arterial cannulas and catheters and accessories | 42221501 | Arterial line catheters
42221500 | Intravenous and arterial cannulas and catheters and accessories | 42221502 | Arterial line continuous catheter flush valves
42221500 | Intravenous and arterial cannulas and catheters and accessories | 42221503 | Central venous catheters
42221500 | Intravenous and arterial cannulas and catheters and accessories | 42221504 | Peripherally inserted central catheters PICC
42221500 | Intravenous and arterial cannulas and catheters and accessories | 42221506 | Umbilical catheters
42221500 | Intravenous and arterial cannulas and catheters and accessories | 42221507 | Intravenous or arterial start kit without catheters
42221500 | Intravenous and arterial cannulas and catheters and accessories | 42221508 | Intravenous or arterial catheter skin care kits or sets
42221500 | Intravenous and arterial cannulas and catheters and accessories | 42221509 | Intravenous or arterial catheter trays
42221500 | Intravenous and arterial cannulas and catheters and accessories | 42221512 | Intravenous catheters
42221500 | Intravenous and arterial cannulas and catheters and accessories | 42221514 | Pulmonary artery catheters
42221500 | Intravenous and arterial cannulas and catheters and accessories | 42221515 | Central venous catheter repair kit or sets
42221500 | Intravenous and arterial cannulas and catheters and accessories | 42221516 | Catheter tip occluders
42221500 | Intravenous and arterial cannulas and catheters and accessories | 42221519 | Arterial cannula adjustable suture rings
42221500 | Intravenous and arterial cannulas and catheters and accessories | 42221520 | Arterial cannula dilator tip introducers or obtruators
42221500 | Intravenous and arterial cannulas and catheters and accessories | 42221521 | High-flow coronary artery ostial cannulae
42221500 | Intravenous and arterial cannulas and catheters and accessories | 42221522 | Arterial cannula integrated pressure monitoring ports
42221500 | Intravenous and arterial cannulas and catheters and accessories | 42221523 | Hepatic artery catheters
42221500 | Intravenous and arterial cannulas and catheters and accessories | 42221524 | Left-heart catheters
42221500 | Intravenous and arterial cannulas and catheters and accessories | 42221525 | Arterial cannula hemostasis caps
42221600 | Intravenous and arterial tubing and administration sets and related products | 42221601 | Intravenous or arterial administration air bubble detectors
42221600 | Intravenous and arterial tubing and administration sets and related products | 42221602 | Intravenous or arterial administration ports or injection sites or caps or protectors
42221600 | Intravenous and arterial tubing and administration sets and related products | 42221603 | Intravenous or arterial extension tubing
42221600 | Intravenous and arterial tubing and administration sets and related products | 42221604 | Intravenous or arterial tubing adapters or connectors or locks or caps or protectors
42221600 | Intravenous and arterial tubing and administration sets and related products | 42221605 | Intravenous or arterial tubing check valves
42221600 | Intravenous and arterial tubing and administration sets and related products | 42221606 | Intravenous or arterial tubing clamps
42221600 | Intravenous and arterial tubing and administration sets and related products | 42221607 | Intravenous or arterial tubing filters or screens for general use
42221600 | Intravenous and arterial tubing and administration sets and related products | 42221608 | Intravenous or arterial tubing identification labels or tapes
42221600 | Intravenous and arterial tubing and administration sets and related products | 42221609 | Intravenous or arterial tubing administration sets
42221600 | Intravenous and arterial tubing and administration sets and related products | 42221610 | Intravenous tubing spike entry ports or caps or protectors
42221600 | Intravenous and arterial tubing and administration sets and related products | 42221611 | Intravenous tubing spikes or caps or protectors
42221600 | Intravenous and arterial tubing and administration sets and related products | 42221612 | Intravenous or arterial tubing needleless injection ports or stopcocks or manifolds
42221600 | Intravenous and arterial tubing and administration sets and related products | 42221613 | Intravenous tubing transfer leg closures or snaps
42221600 | Intravenous and arterial tubing and administration sets and related products | 42221614 | Intravenous tubing with catheter administration kits
42221600 | Intravenous and arterial tubing and administration sets and related products | 42221615 | Secondary or piggyback medication intravenous tubing
42221600 | Intravenous and arterial tubing and administration sets and related products | 42221616 | Intravenous or arterial tubing extension sets
42221600 | Intravenous and arterial tubing and administration sets and related products | 42221617 | Needle resheathers
42221600 | Intravenous and arterial tubing and administration sets and related products | 42221618 | Intravenous or arterial procedure trays
42221600 | Intravenous and arterial tubing and administration sets and related products | 42221619 | Needleless injection manifold kits
42221700 | Intravenous and arterial infusion bags and containers and related products | 42221701 | Intravenous or arterial infusion bags or containers
42221700 | Intravenous and arterial infusion bags and containers and related products | 42221703 | Intravenous or arterial fluid warmers or accessories
42221700 | Intravenous and arterial infusion bags and containers and related products | 42221704 | Intravenous or arterial pressure infusion bags
42221700 | Intravenous and arterial infusion bags and containers and related products | 42221705 | Analgesia infusion vial assemblies
42221700 | Intravenous and arterial infusion bags and containers and related products | 42221706 | Intravenous or arterial infusion transfer bags or container spouts
42221700 | Intravenous and arterial infusion bags and containers and related products | 42221707 | Analgesic infusion sets or kits
42221800 | Intravenous and arterial catheter and needle positioning aids | 42221801 | Intravenous or arterial arm board covers
42221800 | Intravenous and arterial catheter and needle positioning aids | 42221802 | Intravenous or arterial arm boards
42221800 | Intravenous and arterial catheter and needle positioning aids | 42221803 | Intravenous or arterial catheter positioning tapes or dressings or straps or cuffs
42221900 | Intravenous or arterial flow measurement and regulation products | 42221901 | Dial calibrated intravenous flowmeters or regulators
42221900 | Intravenous or arterial flow measurement and regulation products | 42221902 | Intravenous drop counters or regulators
42221900 | Intravenous or arterial flow measurement and regulation products | 42221903 | Ultrasonic blood flow detectors
42221900 | Intravenous or arterial flow measurement and regulation products | 42221904 | Electromagnetic blood flowmeters
42221900 | Intravenous or arterial flow measurement and regulation products | 42221905 | Laser blood flowmeters
42221900 | Intravenous or arterial flow measurement and regulation products | 42221906 | Magnetic resonance blood flowmeters
42221900 | Intravenous or arterial flow measurement and regulation products | 42221907 | Cardiovascular blood flowmeters
42221900 | Intravenous or arterial flow measurement and regulation products | 42221908 | Cassette-intravenous injection sets
42221900 | Intravenous or arterial flow measurement and regulation products | 42221909 | Chemotherapy dosage regulators
42221900 | Intravenous or arterial flow measurement and regulation products | 42221910 | Extravascular blood-flow probes
42221900 | Intravenous or arterial flow measurement and regulation products | 42221911 | Flow directed catheters
42222000 | Intravenous infusion pumps and its analyzers and sensors and its accessories | 42222001 | Intravenous infusion pumps for general use
42222000 | Intravenous infusion pumps and its analyzers and sensors and its accessories | 42222002 | Intravenous syringe infusion pumps
42222000 | Intravenous infusion pumps and its analyzers and sensors and its accessories | 42222003 | Multichannel intravenous infusion pumps
42222000 | Intravenous infusion pumps and its analyzers and sensors and its accessories | 42222004 | Patient controlled analgesia infusion pumps
42222000 | Intravenous infusion pumps and its analyzers and sensors and its accessories | 42222005 | Intravenous pump parts or accessories
42222000 | Intravenous infusion pumps and its analyzers and sensors and its accessories | 42222006 | Intravenous infusion pump analyzers or sensors
42222000 | Intravenous infusion pumps and its analyzers and sensors and its accessories | 42222007 | Intravenous infusion pump transducers
42222000 | Intravenous infusion pumps and its analyzers and sensors and its accessories | 42222008 | Infusion pump kits
42222000 | Intravenous infusion pumps and its analyzers and sensors and its accessories | 42222009 | Syringe actuators for an injector
42222000 | Intravenous infusion pumps and its analyzers and sensors and its accessories | 42222010 | Intravenous infusion pump clamp block assemblies
42222000 | Intravenous infusion pumps and its analyzers and sensors and its accessories | 42222011 | General hospital analytical sampling infusion pumps
42222000 | Intravenous infusion pumps and its analyzers and sensors and its accessories | 42222012 | Infusion pump kit accessories
42222100 | Intravenous and arterial equipment suspension and transport systems | 42222101 | Intravenous or arterial line equipment hangers
42222100 | Intravenous and arterial equipment suspension and transport systems | 42222102 | Mounted tracks or racks for intravenous infusion gravity systems
42222100 | Intravenous and arterial equipment suspension and transport systems | 42222103 | Intravenous infusion poles for wheelchairs
42222100 | Intravenous and arterial equipment suspension and transport systems | 42222104 | Intravenous or arterial line poles or stands
42222100 | Intravenous and arterial equipment suspension and transport systems | 42222105 | Intravenous or arterial line pole or stand accessories
42222200 | Needleless intravenous injection and withdrawal systems | 42222201 | Needleless intravenous injection syringe sets or injection cannulae
42222200 | Needleless intravenous injection and withdrawal systems | 42222202 | Needleless vial or bag withdrawal cannulas or adapters or decanters
42222300 | Blood administration and transfusion products | 42222301 | Blood transfusion administration kits
42222300 | Blood administration and transfusion products | 42222302 | Blood transfusion filters or screens or accessories
42222300 | Blood administration and transfusion products | 42222303 | Blood administration or transfusion identification systems
42222300 | Blood administration and transfusion products | 42222304 | Blood administration or transfusion tubing
42222300 | Blood administration and transfusion products | 42222305 | Blood administration or transfusion tubing clamps
42222300 | Blood administration and transfusion products | 42222307 | Blood warming or transfusion systems
42222300 | Blood administration and transfusion products | 42222310 | Blood exchange-transfusion kits
42222300 | Blood administration and transfusion products | 42222311 | Angiographic fluid administration-waste collection systems
42222300 | Blood administration and transfusion products | 42222312 | Blood cell collection recovery packs

## Powered Infusion Pumps
Infusion Pumps
[Submitter- Please insert your Company's name here] | Please answer all specifications/questions, if a question is not applicable to the Device put N/A
| Device #1 | Device #2 | Device #3 | Device #4 | Device #5 | Device #6 | Device #7 | Device #8 | Device #9 | Device #10 | Device #11 | Device #12 | Device #13 | Device #14 | Device #15 | Device #16 | Device #17 | Device #18 | Device #19 | Device #20
Brand/Trade Name
Model Name / Number
Supplier Product Code
Purchasing model (eg out right purchase, loan, rent)
Supplier Unit Of Measure (eg each, or per month, or per day)
Price Offer ($NZ) for PHARMAC Agreement (per UoM)
Pump/Fleet management (Supplier managed / DHB managed / Other (specify)- please include details of respective responsibilities and whether these vary depending on purchasing model) If you have your own documents which provide this information-please attach and reference the document and the relevant page number(s) as your answer for this question in this worksheet.
Any conditions to accessing offered price
UNSPSC Commodity #
GS1 number (GTIN) if available
Product Specifications / Questions
Section One: Product Description
Device description
Type of infusion pump (eg Volumetric pump, Syringe infusion pump)
Intended use of pump (eg for the administration of fluids requiring precisely controlled infusion rates including blood or blood products, lipids, drugs, antibiotics, enteral solutions and other therapeutic fluids)
Please indicate if the pump is designed for 'bedside' or 'ambulatory' use.
Is this pump designed for use in any specialised clinical environments? (Y/N) If Yes - please list the relevant clinical environments(eg Neonatal Intensive Care Units, Oncology)
Is this pump intended for use in a DHB Hospital supported community setting (eg for out-patients)? (Y/N)
Delivery routes
Arterial (Y/N)
Intravenous (Y/N)
Intrathecal (Y/N)
Epidural (Y/N)
Subcutaneous (Y/N)
Enteral (Y/N) (Please Note: if capable of enteral feed delivery only, the product is considered out of scope)
Other (Please list)
Other product features
Please outline any key features that distinguish this pump from other similar pumps in your range.
Section Two: Regulatory Approvals + Applicable Standards + Markets
Regulatory information
WAND Number (if not currently registered on WAND please provide expected date of registration)
List the international regulatory bodies that have approved the product
List international regulatory approval reference numbers (eg ARTG ######)
Does the proposed product comply with all applicable New Zealand Laws and Regulations? (Y/N)
Applicable standards
Complies with AS/NZS 3551:2012 Management programs for medical equipment? (Y/N)
Complies with AS/NZS 4187:2014 Reprocessing of reusable medical devices in health service organizations? (Y/N)
Complies with Electricity (Safety) Regulations 2010 for electrical medical devices- IEC 60601-1 (Y/N)
List other relevant standards the product complies with (if any)
New Zealand market
Is the product currently used in NZ DHBs? (Y/N)
If not used in New Zealand DHB hospitals, please provide 3 clinical reference sites where the Infusion Pump is currently being used - these must be clinical sites of a similar nature to DHB Hospitals. (provide Name of Hospital, Province, and Country)
International markets
List the countries where product is in clinical use
Section Three: Pump features
Physical features
Pump weight including battery (in kg)
Pump dimensions- length x width x height (in mm)
Is this pump latex free? (Y/N)
If the pump is intended for specialist Infusion type (eg PCA, Epidural, Regional Anaesthesia Infusion) is it identifiable for this purpose and how (eg different colour faceplates and/or Keypads) (Please list infusion type and differentiating features)
Pump mechanism (please outline)
Intended pump use location(s) eg ambulatory-in a backpack, placed on table top, pole mounted or other (please describe)
Indicate if single unit or modular design?
Number of channels (fluid reservoirs a pump can be connected to)
Is the pump MRI compatible? (Y/N)
Suitable for Air Ambulance Services? (Y/N)
Does the pump have a Nurse Call Jack? (Y/N)
Barcode reader compatible? (Y/N)
Is a docking station/unit available? (Y/N)
Product codes for associated docking station/unit (please list)
Does the pump require dedicated Infusion Sets (Y/N)
Does the pump or associated consumables have an anti-free-flow mechanism (Y/N)
Delivery modes
Continuous infusion (Y/N)
Volume / time (Y/N)
Intermittent (Y/N)
Clinician Controlled Bolus (Y/N)
Patient Controlled Bolus (Y/N)
Target-controlled infusion (TCI) / total i.v. anaesthesia (TIVA) (Y/N)
Other (Please list)
Pump Settings
Flow rate range and increments (mL/hr)
Volume to be Infused (VTBI) range and increments (mL)
Keep Vein Open range and increments (mL/hr)
Accuracy (%)
Automatic piggybacking? (Y/N)
Dose programable (Y/N)
Concentration range and increments
Clinician bolus range and increments
Patient bolus range and increments
Lock out time range and increments
Occlusion pressure range and increments
Adjustable alarm volume settings? (Y/N)
Configurable alarm settings? (eg air in line, occlusions pressures) (Y/N)
Front-panel lock out? (Y/N)
Pump-based priming (Y/N)
Power Source
Mains power? (Y/N)
Compatible with New Zealand power supply and power points for mains power (Y/N)
Disposable Batteries? (Y/N) If yes - list number and type required
Rechargeable Batteries? (Y/N) If yes- please provide type (eg lithium)
Operating time (hours)
Recharge time (hours)
Recommended battery replacement frequency
Auto save function - settings maintained for option of restoration when powering up (Y/N)
Section Four: Warranties
Warranty Period
Section Five: Pump Technology Status
How long has this technology has been commercially available globally (state when the model was launched)
What is the life expectancy (useful life) of the pump?
How long is the pump expected to be commercially marketed for? (years)
Any projected End of Manufacturing or End of Life Date set for the pump?
What is the manufacturing company’s policy regarding availability and pricing of spare parts after production of the pump stops?
Section Six: Pump ICT / Software
Software version(s)
Software version(s) available (please list)
Key features of software version(s)
Infusion Device System Network
Can the Infusion device system operate via a wired network? (Y/N)
Can the Infusion device system operate via a wireless network? (Y/N)
Please list any network requirements your pump has
Confirm any ICT costs, e.g. cost per device, licensing costs, on-going support costs, etc. have been outline in Attachment 04- Financial Analysis for Equipment (Y/N)
Drug Library
Drug library technology available with pump (Y/N)
Capability to provide a drug library with both hard and soft parameters (Y/N)
Does the pump default to a Drug Error Reduction System on start up? (Y/N)
Drug library size
Number of care areas pump can be set up for (eg 10)
Number of drug entities per care area pump can be set up for (eg 100)
Network (e.g. Wireless) Connectivity
Log-analysis software available? (Y/N)
Capability to interface with barcode technology (Y/N)
Confirm any costs associated with your Drug Library have been outline in Attachment 04- Financial Analysis for Equipment (Y/N)
Management of private data
Does the pump and any associated external software display, transmit or maintain private data (for example electronic patients records)? (Y/N)
List the types of private data the pump and any associated external software has the ability to store? (any patient specific data?)
How does the pump and any associated external software maintain/store/use private data? Please consider: • Is the private data stored on a volatile memory such that it would be erased when reset or device is turned off? • Does it have the ability import/export private data to and from other systems? • Does it display data private data? • Does it have the ability to transmit or receive private data via a wired network? • Does it have the ability to transmit or receive private data via a wireless network? If you have your own documents which provide this information-please attach and reference the document and the relevant page number(s) as your answer for this question in this worksheet.
How does your pump and any associated external software maintain the security of this private data? Please consider: • Does your pump have an authorised access control? • Does your pump have an audit trail function? • Does your pump have cyber security protection from virus/malware? • Does your pump have any physical components for protection eg a lock. If you have your own documents which provide this information-please attach and reference the document and the relevant page number(s) as your answer for this question in this worksheet.
How does your pump and any associated software protect data it stores (for example, if the pump is damaged or decommissioned)?
Section Seven: Upgrades- Software AND Hardware as applicable
State your policy in regard to future updates critical for ongoing operation of the Infusion Device. Any costs associated with this MUST be outlined in Attachment 04- Financial Analysis for Equipment
State your policy in regard to future updates which would enhance the operation of the Infusion Device. Any costs associated with this MUST be outlined in Attachment 04- Financial Analysis for Equipment
Please confirm that any upgrades which support patient safety are provided at no cost (Y/N) if No- you MUST provide rationale + and outline costs in Attachment 04- Financial Analysis for Equipment
Please confirm that any upgrades which rectify software issues/bugs are provided at no cost (Y/N) if No - you MUST provide rationale + and outline costs in Attachment 04- Financial Analysis for Equipment
State what hardware and software upgrades are currently or soon to be available and projected dates. Outline any associated costs in Attachment 04- Financial Analysis for Equipment
Section Eight: Training and Support
Please provide an overview of the training, education and support your company would provide for Clinicians including: • frequency • location • format • content • staff groups (eg. hospital, community) • other relevant information If you have your own documents which provide this information-please attach and reference the document and the relevant page number(s) as your answer for this question in this worksheet.
Please provide an overview of the training, education and support your company would provide for Clinical Engineers including: • frequency • location • format • content • staff groups (eg. hospital, community) • other relevant information If you have your own documents which provide this information-please attach and reference the document and the relevant page number(s) as your answer for this question in this worksheet.
Please provide an overview of the training, education and support your company would provide for patients and/or their carers including: • frequency • location • format • content • staff groups (eg. hospital, community) • other relevant information If you have your own documents which provide this information-please attach and reference the document and the relevant page number(s) as your answer for this question in this worksheet.
Training and education materials Outline the training and education materials that would be provided to DHB Hospitals purchasing the proposed products: • for DHB Hospital staff (including clinical engineers) • for patients and carers If you have your own documents which provide this information-please attach and reference the document and the relevant page number(s) as your answer for this question in this worksheet.
Your product support staff information about your staff that would be involved in supporting the proposed products (including those staff providing clinical training and support and staff providing clinical engineering services/support). Include: • technical skills; • experience; • qualifications; and • other role responsibilities (eg if they are responsible for supporting other major Device Categories etc) If you have your own documents which provide this information-please attach and reference the document and the relevant page number(s) as your answer for this question in this worksheet.
Confirm any costs associated with your training have been outline in Attachment 04- Financial Analysis for Equipment (Y/N)
Transistion Support
Experience transitioning DHB Hospitals to your Infusion Devices Please outline: • extent of transition (eg switching multiple product ranges within a category for majority of DHB use, or one product range for portion of DHBs hospital use); • when transition occurred; • extra resources utilised (eg whether international product/transition specialist were called on for a period); If you have your own documents which provide this information-please attach and reference the document and the relevant page number(s) as your answer for this question in this worksheet.
Transition support Include an outline of the support that would be provided to DHB Hospitals transitioning to the proposed products. Attach a detailed transition plan setting out the transition steps, roles and responsibilities and timeframes. Note name of attachment in response column.
Customer Support
Customer Support hours
Customer support contact number
Complaints management processes Include overview of key roles and responsibilities for investigation and response, and escalation and continuous quality improvement processes.
Equipment Maintenance and Management Services
List the Infusion Pump performance verification support / services provided by your company (eg .physical, functional and electric tests to confirm the Equipment/System is capable of performing safely for its intended use) Please note whether there is any difference after Equipment warranty expiry. Outline any associated costs in Attachment 04- Financial Analysis for Equipment
How often would performance verification support / services be provided by your company?
List the Infusion Pump preventative maintenance support/services provided by your company. Please note whether there is any difference after Equipment warranty expiry. Outline any associated costs in Attachment 04- Financial Analysis for Equipment
How often would performance preventative maintenance support/services be provided by your company?
List the Infusion Equipment corrective maintenance support/service provided by your company. Please note whether there is any difference after Equipment warranty expiry. Outline any associated costs in Attachment 04- Financial Analysis for Equipment
Materials provided for performance verification, preventative maintenance, and corrective maintenance Include whether your company provides: • Comprehensive operating/user documents. • Comprehensive technical/service documents and any specific equipment needed for servicing • Please indicate format of material- electronic or hard-copy. • Document update policy Outline any associated costs in Attachment 04- Financial Analysis for Equipment
Access to materials, spare parts, equipment, or your service needed for performance verification, preventative maintenance, and corrective maintenance of Equipment. Include where materials, spare parts and equipment are stored/located, and turnaround time from date of order of parts/servicing. Outline any associated costs in Attachment 04- Financial Analysis for Equipment
If performance verification, preventative maintenance, and corrective maintenance of Equipment is required to occur outside DHB premises- please outline how this is managed Include whether you provide replacement Equipment. Outline any associated costs in Attachment 04- Financial Analysis for Equipment
What is your company's replacement and repair policy?
Any other relevant information about maintenance, servicing and calibration services
Section Nine: Supplier provided community support
Is your Infusion Device intended for use outside the DHB Hospital setting ie community use (eg out-patient services and/or post-discharge into the community) (Y/N)
Please outline any services you provide in the community (eg Equipment tracking, and direct to patient delivery of product provided free of charge) Outline any associated costs in Attachment 04- Financial Analysis for Equipment
Section Ten: Supply Chain
Manufacturer
Country of Manufacture
Do you hold stock of this Device? (Y/N) If Yes, please provide primary warehouse location(s) (City, Country) (eg Auckland, New Zealand)
Manufacture to delivery From start of manufacture to delivery to DHB Hospitals or DHB Hospital nominated locations (eg. home delivery), include: • steps • who is involved (eg international freight carrier, warehousing, logistic providers, New Zealand freight providers) • timeframes for each step
Section Eleven: Failure to Supply and Product Recall Management
Key supply continuity risks and mitigations Include the key risks to continuity of supply to DHB Hospitals and the steps that will be taken to mitigate these risks. If you have your own documents which provide this information-please attach and reference the document and the relevant page number(s) as your answer for this question in this worksheet.
Response to unexpected increase in demand Include: • any access to alternative international supply and timeframes in which these could be mobilised/available for use in NZ DHBs • communication with DHB Hospitals • communication with PHARMAC • how stock is prioritised If you have your own documents which provide this information-please attach and reference the document and the relevant page number(s) as your answer for this question in this worksheet.
Provide how you would manage a recall for this Infusion Pump or any parts, accessories or dedicated consumables required for its full use If you have your own documents which provide this information-please attach and reference the document and the relevant page number(s) as your answer for this question in this worksheet.
Section Twelve: Information about current contracts your company has in place with DHB Hospitals
Expiry dates
Additional cost and volume data/information If you have your own documents which provide this information-please attach and reference the document and the relevant page number(s) as your answer for this question in this worksheet.
Other relevant information about current contracts/standing agreements in place with DHB Hospitals If you have your own documents which provide this information-please attach and reference the document and the relevant page number(s) as your answer for this question in this worksheet.
Please list the current purchasing models available to and that have been used by DHBs in the last 5 years for the device. Please also identify which DHBs have utilised the model For example - Outright purchase; - Lease; - Rent; - Rent to buy; and - Supplier provided equipment options
If there are any differences in the purchasing models proposed to what your currently provide DHBs, please identify the differences
List Infusion Equipment procurement options currently provided to DHB Hospitals that are not included in proposal, and reason for this
Section Thirteen: Pump loan options, including but not limited to lease, rent and rent to buy arrangements (if being proposed)
Number, and location(s) of units in fleet that DHB Hospitals can access
Contingencies for peaks in demand
Assumptions used to estimate fleet size
Delivery and retrieval timeframe(s)
Delivery, receipt and pre-use procedures
Consignment arrangements
Management and operational arrangements including equipment tracking
Respective supplier and DHB responsibilities for fleet management
Risk and liability during key exchange and activity points
Product support, training and education
Termination terms and conditions
Any differences between current arrangements with DHB Hospitals and proposed arrangements
Other relevant information about the arrangement(s) being proposed
Section Fourteen: Pricing information
Confirm that you have filled in Attachment 04- Financial Analysis for Equipment and outlined any costs associated with your pump in the 'Equipment' Tab (Y/N)
Alternative pricing models Include: • details of any alternative pricing models and associated qualification requirements • details of any DHB Hospitals currently accessing the alternative pricing models Any alternative pricing models must have financial analysis in Attachment 04- Financial Analysis for Equipment
Pricing information: include any information related to pricing provided including any related conditions If you have your own documents which provide this information-please attach and reference the document and the relevant page number(s) as your answer for this question in this worksheet.
Please outline how your proposals supports equal opportunity for value across all DHB hospitals consider access of value for smaller DHBs
If you are a current supplier, please outline how your proposals would support DHBs currently purchasing your Infusion Pumps to transition to a PHARMAC National Contracting agreement should this eventuate
Other relevant information
Additional options Include any additional proposals or suggestions not expressly identified in this RFP that you would like PHARMAC to consider as part of this proposal.

## Pump Spare Parts
Infusion Pump Spare Parts
Example UNSPSC codes can be found on the 'UNSPSC #' Tab, please refer to Schedule 1 Clause 4 in the Request for Proposal letter to check your product is within the scope of this RFP.
Medical Device Purchasing and Ordering Details | [13 empty] | Supply Chain | [5 empty] | Regulation and International Markets | New Zealand DHB Market + Contracts Information | [6 empty] | Detailed product information
Supplier Name | Supplier Product Code | Brand/Trade Name (Brand name that appears on product/ product packaging) | Product Description (used on Purchase Orders) This is the product description used by your company to identify a product | UNSPSC Commodity # The 'UNSPSC #' tab provides some example UNSPSC numbers | GS1 number (GTIN) if available | Is the product available on consignment? (Y/N) | Supplier Unit Of Measure (UOM) (eg Each) NB: This must reflect minimum order quantity for the product | Single Unit (eg Battery) | Number of Single Units per Supplier UOM (eg 1) | Is the Supplier UOM different from how you have historically sold this product? (Y/N)-If yes, please describe how this differs from current supply (if product has not been sold into NZ DHBs put N/A) | Price Offer ($NZ) for PHARMAC Schedule Listing (per Supplier UOM) | Is pricing Free into Store? (Y/N) – if no detail | Is the price offered higher for some or all DHBs currently purchasing this product? (Y/N)- please provide rationale for increased price. (N/A if price is cost neutral, cost savings or product is not currently sold in NZ DHB Hospitals). | Manufacturer | Country of Manufacture | Primary warehouse location(s) (City, Country) (eg Auckland, New Zealand) | Do you currently hold stock of this item in New Zealand? (Y/N) if No, please indicate Lead Time to source item | Shelf life of product from date of manufacture- in months (eg 36 months) | Minimum shelf life of product at time of supply to DHBs (eg 18 months) | WAND registration number (if WAND not applicable- please provide rationale, if WAND not yet notified please indicate when this is expected to be completed) | Is the product currently sold in NZ DHBs? (Y/N) | Total volume sold (UOM) to DHBs June 17 - May 18 (If no sales =0) | Total sales revenue in $NZ to DHBs June 17 - May 18 (If no sales =0) | If this product range is not used in New Zealand DHB hospitals, please provide 3 clinical reference sites where the product range is being used (provide Name of Hospital, Province, and Country) | Is this product already supplied under a PHARMAC agreement? (Y/N) | Has this product been submitted via another PHARMAC procurement process? (Y/N) If yes, please identify which process eg Interventional Radiology RFP) | Has this product been submitted via a New Zealand Health Partnerships procurement process? (Y/N) If yes, please identify which process | Product type (eg Battery) | Please list Pump Model(s) part is intended for, with pump product codes | Product Specifications | Warranty period | Additional Comments

## Pump Accessories
Infusion Pump Accessories
Example UNSPSC codes can be found on the 'UNSPSC #' Tab, please refer to Schedule 1 Clause 4 in the Request for Proposal letter to check your product is within the scope of this RFP.
Medical Device Purchasing and Ordering Details | [13 empty] | Supply Chain | [5 empty] | Regulation and International Markets |  |  | New Zealand DHB Market Information | [6 empty] | Detailed product information
Supplier Name | Supplier Product Code | Brand/Trade Name (Brand name that appears on product/ product packaging) | Product Description (used on Purchase Orders) This is the product description used by your company to identify a product | UNSPSC Commodity # The 'UNSPSC #' tab provides some example UNSPSC numbers | GS1 number (GTIN) if available | Is the product available on consignment? (Y/N) | Supplier Unit Of Measure (UOM) (eg Each) NB: This must reflect minimum order quantity for the product | Single Unit (eg IV Infusion Pole) | Number of Single Units per Supplier UOM (eg 1) | Is the Supplier UOM different from how you have historically sold this product? (Y/N)-If yes, please describe how this differs from current supply (if product has not been sold into NZ DHBs put N/A) | Price Offer ($NZ) for PHARMAC Schedule Listing (per Supplier UOM) | Is pricing Free into Store? (Y/N) – if no detail | Is the price offered higher for some or all DHBs currently purchasing this product? (Y/N)- please provide rationale for increased price. (N/A if price is cost neutral, cost savings or product is not currently sold in NZ DHB Hospitals). | Manufacturer | Country of Manufacture | Primary warehouse location(s) (City, Country) (eg Auckland, New Zealand) | Do you currently hold stock of this item in New Zealand? (Y/N) if No, please indicate Lead Time to source item | Shelf life of product from date of manufacture- in months (eg 36 months) | Minimum shelf life of product at time of supply to DHBs (eg 18 months) | WAND registration number (if WAND not applicable- please provide rationale, if WAND not yet notified please indicate when this is expected to be completed) | List countries where product is in clinical use (eg Australia, US, UK, Japan) | Provide all applicable international compliance certificate numbers eg TGA,CE, FDA Include TGA/CE/FDA before each number provided Note: please provide copies of compliance certificates with RFP submission, if more than one type of certificate is available for a particular product/product range please supply only a single certificate in your submission with others available on request. | Is the product currently sold in NZ DHBs? (Y/N) | Total volume sold (UOM) to DHBs June 17 - May 18 (If no sales =0) | Total sales revenue in $NZ to DHBs June 17 - May 18 (If no sales =0) | If this product range is not used in New Zealand DHB hospitals, please provide 3 clinical reference sites where the product range is being used (provide Name of Hospital, Province, and Country) | Is this product already supplied under a PHARMAC agreement? (Y/N) | Has this product been submitted via another PHARMAC procurement process? (Y/N) If yes, please identify which process eg Interventional Radiology RFP) | Has this product been submitted via a New Zealand Health Partnerships procurement process? (Y/N) If yes, please identify which process | Product type (eg IV Infusion Pole) | Please list Pump Model(s) accessory is intended for, with pump product codes | Intended use (eg designed to support continuous IV infusion and patient mobility with hooks for Infusion bags and wheels for patient mobility - suitable for gravity-fed IV administration and small infusion pumps with pole clamps) | Full product description/specifications please include full product specifications and identify product features which differ within and between your product ranges, for kits please provide specifications for each kit item. (eg Pole and Base Dimensions- height (cm), width (cm), depth (cm), circumference (cm) weight (kg), number of wheels, number of hooks) | Speciality department (as applicable) please identify if the product is intended to be used by or is predominantly used by a particular healthcare professional specialty eg Anaesthesia (if not state N/A) | Sterile (Y/N) | Product materials Please also indicate whether your product includes any of the following: BPA, DEHP, PVC or Latex. | Single use ( S ), Defined life multi-use ( DL ) or Reusable ( R ) If defined life multi-use – please provide defined life details (eg DL-5 uses) | Warranty period (N/A if not applicable) | Are set/kit contents available as individual items? (Y/N or N/A) | If set/kit contents are available and have been submitted through this RFP please include the relevant product codes) | Additional Comments

## Dedicated Consumables
Infusion Pump Dedicated Consumables
Example UNSPSC codes can be found on the 'UNSPSC #' Tab, please refer to Schedule 1 Clause 4 in the Request for Proposal letter to check your product is within the scope of this RFP.
Medical Device Purchasing and Ordering Details | [13 empty] | Supply Chain | [5 empty] | Regulation and International Markets |  |  | New Zealand DHB Market Information | [6 empty] | Detailed product information
Supplier Name | Supplier Product Code | Brand/Trade Name (Brand name that appears on product/ product packaging) | Product Description (used on Purchase Orders) This is the product description used by your company to identify a product | UNSPSC Commodity # The 'UNSPSC #' tab provides some example UNSPSC numbers | GS1 number (GTIN) if available | Is the product available on consignment? (Y/N) | Supplier Unit Of Measure (UOM) (eg Case) NB: This must reflect minimum order quantity for the product | Single Unit (eg Gravity Intravenous Administration Set ) | Number of Single Units per Supplier UOM (eg 20) | Is the Supplier UOM different from how you have historically sold this product? (Y/N)-If yes, please describe how this differs from current supply (if product has not been sold into NZ DHBs put N/A) | Price Offer ($NZ) for PHARMAC Schedule Listing (per Supplier UOM) | Is pricing Free into Store? (Y/N) – if no detail | Is the price offered higher for some or all DHBs currently purchasing this product? (Y/N)- please provide rationale for increased price. (N/A if price is cost neutral, cost savings or product is not currently sold in NZ DHB Hospitals). | Manufacturer | Country of Manufacture | Primary warehouse location(s) (City, Country) (eg Auckland, New Zealand) | Do you currently hold stock of this item in New Zealand? (Y/N) if No, please indicate Lead Time to source item | Shelf life of product from date of manufacture- in months (eg 36 months) | Minimum shelf life of product at time of supply to DHBs (eg 18 months) | WAND registration number (if WAND not applicable- please provide rationale, if WAND not yet notified please indicate when this is expected to be completed) | List countries where product is in clinical use (eg Australia, US, UK, Japan) | Provide all applicable international compliance certificate numbers eg TGA,CE, FDA Include TGA/CE/FDA before each number provided Note: please provide copies of compliance certificates with RFP submission, if more than one type of certificate is available for a particular product/product range please supply only a single certificate in your submission with others available on request. | Is the product currently sold in NZ DHBs? (Y/N) | Total volume sold (UOM) to DHBs June 17 - May 18 (If no sales =0) | Total sales revenue in $NZ to DHBs June 17 - May 18 (If no sales =0) | If this product range is not used in New Zealand DHB hospitals, please provide 3 clinical reference sites where the product range is being used (provide Name of Hospital, Province, and Country) | Is this product already supplied under a PHARMAC agreement? (Y/N) | Has this product been submitted via another PHARMAC procurement process? (Y/N) If yes, please identify which process eg Interventional Radiology RFP) | Has this product been submitted via a New Zealand Health Partnerships procurement process? (Y/N) If yes, please identify which process | Product type (eg Gravity Intravenous Administration Set) | Please list Pump Model(s) accessory is intended for, with pump product codes | Intended use (eg designed for IV administration of intravenous fluids(excluding blood) to a patient’s vascular system by gravity flow) | Full product description/specifications please include full product specifications and identify product features which differ within and between your product ranges, for kits please provide specifications for each kit item. (eg Type of set (eg blood/solution, primary or secondary, Y-set, Single- or Double spiked, Vented or Non-Vented, Priming volume (mL), Tubing: material, microbore or regular-bore-diameter (mm), length (cm), flow rate (in mL per minute), tint colour(where applicable), type connectors (fixed or rotating, male or female), integral set components (eg integral hand pump, integral burette, integral access ports (open or closed luer access), number/type of access ports, distance from the patient connection (cm), position (proximal or distal),filters (microns), side-arms, non-return valves, number and type of clamps for flow control) | Can this be used in or form a ‘Closed Drug Transfer System’ (as described by NIOSH)? (Y/N) | If the device can be used in or form a ‘Closed Drug Transfer System’ please attach evidence that supports this claim if available. Record the name of the attached document in this column | Speciality department (as applicable) please identify if the product is intended to be used by or is predominantly used by a particular healthcare professional specialty eg Anaesthesia (if not state N/A) | Sterile (Y/N) | Product materials Please also indicate whether your product includes any of the following: BPA, DEHP, PVC or Latex. | Single use ( S ), Defined life multi-use ( DL ) or Reusable ( R ) If defined life multi-use – please provide defined life details (eg DL-5 uses) | Are set/kit contents available as individual items? (Y/N or N/A) | If set/kit contents are available and have been submitted through this RFP please include the relevant product codes) | Additional Comments

## Miscellaneous
Miscellaneous
Miscellaneous products not identified as ‘in scope’ or ‘out of scope’ in the Request for Proposal letter will be considered through this process at PHARMAC’s discretion.
Medical Device Purchasing and Ordering Details | [13 empty] | Supply Chain | [5 empty] | Regulation and International Markets |  |  | New Zealand DHB Market Information | [7 empty] | Detailed product information
Supplier Name | Supplier Product Code | Brand/Trade Name (Brand name that appears on product/ product packaging) | Product Description (used on Purchase Orders) This is the product description used by your company to identify a product | UNSPSC Commodity # The 'UNSPSC #' tab provides some example UNSPSC numbers | GS1 number (GTIN) if available | Is the product available on consignment? (Y/N) | Supplier Unit Of Measure (UOM) (eg Case) NB: This must reflect minimum order quantity for the product | Single Unit (eg refer to examples on other worksheets ) | Number of Single Units per Supplier UOM (eg 20) | Is the Supplier UOM different from how you have historically sold this product? (Y/N)-If yes, please describe how this differs from current supply (if product has not been sold into NZ DHBs put N/A) | Price Offer ($NZ) for PHARMAC Schedule Listing (per Supplier UOM) | Is pricing Free into Store? (Y/N) – if no detail | Is the price offered higher for some or all DHBs currently purchasing this product? (Y/N)- please provide rationale for increased price. (N/A if price is cost neutral, cost savings or product is not currently sold in NZ DHB Hospitals). | Manufacturer | Country of Manufacturer | Primary warehouse location(s) (City, Country) (eg Auckland, New Zealand) | Do you currently hold stock of this item in New Zealand? (Y/N) if No, please indicate Lead Time to source item | Shelf life of product from date of manufacture- in months (eg 36 months) | Minimum shelf life of product at time of supply to DHBs (eg 18 months) | WAND registration number (if WAND not applicable- please provide rationale, if WAND not yet notified please indicate when this is expected to be completed) | List countries where product is in clinical use (eg Australia, US, UK, Japan) | Provide all applicable international compliance certificate numbers eg TGA,CE, FDA Include TGA/CE/FDA before each number provided Note: please provide copies of compliance certificates with RFP submission, if more than one type of certificate is available for a particular product/product range please supply only a single certificate in your submission with others available on request. | Is the product currently sold in NZ DHBs? (Y/N) | Total volume sold (UOM) to DHBs June 17 - May 18 (If no sales =0) | Total sales revenue in $NZ to DHBs June 17 - May 18 (If no sales =0) | If you are a current supplier of the proposed Equipment, please outline how your proposals would support DHBs currently purchasing your Equipment to transition to a PHARMAC National Contracting agreement should this eventuate. | If this product range is not used in New Zealand DHB hospitals, please provide 3 clinical reference sites where the product range is being used (provide Name of Hospital, Province, and Country) | Is this product already supplied under a PHARMAC agreement? (Y/N) | Has this product been submitted via another PHARMAC procurement process? (Y/N) If yes, please identify which process eg Interventional Radiology RFP) | Has this product been submitted via a New Zealand Health Partnerships procurement process? (Y/N) If yes, please identify which process | Product type (eg refer to examples on other worksheets) | Intended use (eg refer to examples on other worksheets) | Full product description please include full product specifications and identify product features which differ within and between your product ranges, for kits please provide specifications for each kit item. (eg refer to examples on other worksheets) | Have you attached full product specifications for Equipment? (Y/N) (N/A if not applicable) please record the name of the attached documents in this column | Speciality department (as applicable) please identify if the product is intended to be used by or is predominantly used by a particular healthcare professional specialty eg Anaesthesia (if not state N/A) | Sterile (Y/N) | Product materials Please also indicate whether your product includes any of the following: BPA, DEHP, PVC or Latex. | Single use ( S ), Defined life multi-use ( DL ) or Reusable ( R ) If defined life multi-use – please provide defined life details (eg DL-5 uses) | Safety feature? (Y/N) | Active or Passive Safety feature? *For the avoidance of doubt a passive safety device incorporates a safety mechanism that activates itself during the normal course of clinical use ie the user does not have to activate in any way (eg by pushing a button or lever). (Active or Passive or N/A) | Warranty period | Are set/kit contents available as individual items? (Y/N or N/A) | If set/kit contents are available and have been submitted through this RFP please include the relevant product codes) | Additional Comments