## Instructions
Instructions for Attachment 01
Instructions for Feeding Pump Worksheet (Tab) Answer all specifications/questions If any of the specifications/questions do not apply put N/A with rationale Please do not alter the tab format in any way. Please list all Feeding Pump in a Separate column Please submit this document in an excel format document (not pdf). All prices to be submitted in $NZ All prices to exclude GST. Free Into Store (FIS) delivery is the preferred pricing model. All rows must be completed for every product submitted - do not leave any cells blank. Please state (N/A) where requested information is not applicable to your product.
Instructions for other Tabs Please follow all instructions at the top of the each tab and within the column headings. Provision of all requested information is mandatory except for GS1(GTIN) and UNSPSC numbers. Provision of GS1(GTIN) and UNSPSC numbers is desirable. Please do not alter the document format in any way. Please do not leave blank rows between products. Please list all sizes in the range of products on a separate line. Please submit this document in an excel format document (not pdf). All prices to be submitted in $NZ All prices to exclude GST. Free Into Store (FIS) delivery is the preferred pricing model. All columns must be completed for every product submitted - do not leave any cells blank. Please state (N/A) where a column is not applicable to your product. The 'UNSPSC # + Subcategory' Tab includes some UNSPSC codes, however you may enter a different code for your product where appropriate. In the full product description section please use metric units not imperial units (e.g. mm not inches)

## UNSPSC # + Subcategories
UNSPSC Numbers and Subcategory examples
Feeding Equipment & Dedicated Devices |  |  | Non-Dedicated Feeding Devices Feeding Devices not dedicated to specific Feeding Equipment
Feeding Device Subcategory | Subcategory examples (including but not limited to) | UNSPSC # | Feeding Device Subcategory | Feeding Device examples (including but not limited to) | UNSPSC #
Equipment |  |  | Enteral & Oral syringes + syringe accessories
Equipment | Enteral feeding infusion pumps | 42231501 | Enteral & Oral syringes + syringe accessories | Enteral reusable syringes
Equipment Spare Parts |  |  | Enteral & Oral syringes + syringe accessories | Enteral syringe caps
Equipment Spare Parts | Battery door replacement |  | Enteral & Oral syringes + syringe accessories | Enteral syringe filter | 41104922
Equipment Spare Parts | Key pad replacement |  | Enteral & Oral syringes + syringe accessories | Enteral syringe straws
Equipment Accessories |  |  | Enteral & Oral syringes + syringe accessories | Enteral syringes
Equipment Accessories | Backpack for ambulatory use |  | Enteral & Oral syringes + syringe accessories | Oral liquid medication syringes | 42142610
Equipment Accessories | Pump clamps |  | Enteral & Oral syringes + syringe accessories | Oral/enteral syringes
Equipment Accessories | Pump charger |  | Enteral & Oral syringes + syringe accessories | Syringe accessories | 42142615
Equipment Accessories | Pump pole |  | Enteral & Oral syringes + syringe accessories | Syringe adapters or accessories | 41122003
Equipment Accessories | Discharge Kit |  | Feeding Device Accessories
Equipment Consumables |  |  | Feeding Device Accessories | Button replacement introducer device
Equipment Consumables | Enteral feeding administration sets | 42231502 | Feeding Device Accessories | Dilator devices
Equipment Consumables | Enteral feeding irrigation sets or trays | 42231503 | Feeding Device Accessories | Duodenal tube tips | 42231612
Equipment Consumables | Enteral feeding set adapters or connectors or extensions | 42231505 | Feeding Device Accessories | Enteral feeding clamps
Equipment Consumables | Enteral feeding set valves | 42231508 | Feeding Device Accessories | Enteral feeding set valves | 42231508
Equipment Consumables | Enteral feeding infusion pump tubing sets | 42231510 | Feeding Device Accessories | Enteral feeding tube cleaning brushes | 42231507
|  |  | Feeding Device Accessories | Feeding stoma measuring device | 42231618
|  |  | Feeding Device Accessories | Feeding stoma seals
|  |  | Feeding Device Accessories | Feeding stoma stopper devices
|  |  | Feeding Device Accessories | Feeding tube fixation devices
|  |  | Feeding Device Accessories | Feeding tube ph. placement indicators
|  |  | Feeding Device Accessories | Feeding tube removal devices
|  |  | Feeding Device Accessories | Feeding tube unblocking devices
|  |  | Feeding Device Accessories | Gastrostomy or jejunostomy tube holders | 42231605
|  |  | Feeding Device Accessories | Jejunostomy tube holders | 42231616
|  |  | Feeding Device Accessories | Nasoenteric tube securing devices | 42231506
|  |  | Feeding Device Accessories | Nasogastric filters | 42231705
Feeding Device Adaptors
|  |  | Feeding Device Adaptors | Enteral feeding set adapters or connectors | 42231505
|  |  | Feeding Device Adaptors | Enteral Y Port adaptors
|  |  | Feeding Device Adaptors | Feeding/medicine bottle adaptors
|  |  | Feeding Device Adaptors | Funnel adaptors
|  |  | Feeding Device Adaptors | Replacement tube ends
|  |  | Feeding Device Adaptors | Transitional adaptors
|  |  | Feeding Device Adaptors | Universal feeding adaptors
Feeding Device Related Bags and Containers
|  |  | Feeding Device Related Bags and Containers | Enteral nutrition bags or containers | 42231504
|  |  | Feeding Device Related Bags and Containers | Feeding associated drainage bags
|  |  | Feeding Device Related Bags and Containers | Giving set containers
Feeding Tubes
|  |  | Feeding Tubes | Drainage & feeding tubes
|  |  | Feeding Tubes | Duodenal tube balloons | 42231611
|  |  | Feeding Tubes | Extension-tubes
|  |  | Feeding Tubes | Gastric access buttons | 42231604
|  |  | Feeding Tubes | Gastric decompression tubes | 42231703
|  |  | Feeding Tubes | Gastrostomy tubes for general use
|  |  | Feeding Tubes | Gastro Duodenal tubes | 42231606
|  |  | Feeding Tubes | Jejunostomy tubes | 42231609
|  |  | Feeding Tubes | Nasogastric feeding tubes
|  |  | Feeding Tubes | Nasojejunal tubes | 42231702
|  |  | Feeding Tubes | Replacement gastronomy feeding tubes
|  |  | Feeding Tubes | Replacement jejunostomy feeding tubes
Kits + Sets (ie products with more than one individual component)
|  |  | Kits + Sets | Dilator kits
|  |  | Kits + Sets | Gastric decompression kits
|  |  | Kits + Sets | Gastric percutaneous tubes or kits | 42231608
|  |  | Kits + Sets | Gastrointestinal anchor kits
|  |  | Kits + Sets | Gastrostomy kits for general use | 42231606
|  |  | Kits + Sets | Giving set- feed + flush sets
|  |  | Kits + Sets | Introducer/placement kits for percutaneous endoscopically placed tubes-PEG and PEG-J
|  |  | Kits + Sets | Introducer/placement kits for percutaneous radiologically placed tubes-RIG and RIJ
|  |  | Kits + Sets | Irrigation sets
|  |  | Kits + Sets | Jejunostomy tubes or kits | 42231609
|  |  | Kits + Sets | Naso-jejunal feeding tube kits (radiologically placed)
|  |  | Kits + Sets | Naso-jejunal feeding tube kits (percutaneously placed)
|  |  | Kits + Sets | Surfactant Kits
|  |  | Kits + Sets | Surgically placed jejunostomy tube kits
|  |  | Kits + Sets | Universal enteral feeding administration sets | 42231502
|  |  | Kits + Sets | Universal enteral feeding irrigation sets or trays | 42231503
Other

## Feeding Pumps
Feeding Pumps (eg enteral feeding pumps, enteral feeding syringe drivers)
use of 'DHB Hospitals' in the questions below means New Zealand District Health Board Hospitals and their funded associated services | Please answer all specifications/questions, if a question is not applicable to the Device put N/A Each Feeding Pump purchasing model should be put in separate columns
| Device1 Purchasing Model #1 | Device1 Purchasing Model #2 | Device2 Purchasing Model #1 | Device2 Purchasing Model #2 | Device3 Purchasing Model #1 | Device3 Purchasing Model #2 | Device4 | Device5 | Device6 | Device7 | Device8 | Device9 | Device10 | Device11 | Device12 | Device13 | Device14 | Device15 | Device16 | Device17
Supplier Name | bar: Device4; Device6; Device8; Device10; Device12; Device14; Device16
Supplier Product Code | bar: Device4; Device6; Device8; Device10; Device12; Device14; Device16
Brand/Trade Name (Brand name that appears on product/ product packaging) | bar: Device4; Device6; Device8; Device10; Device12; Device14; Device16
Purchasing model (eg out right purchase, free-on-loan) please put different purchasing models in a separate columns | bar: Device4; Device6; Device8; Device10; Device12; Device14; Device16
Supplier Unit Of Measure (eg each, or per month, or per day) NB: This must reflect minimum order quantity for the product | bar: Device4; Device6; Device8; Device10; Device12; Device14; Device16
Price Offer ($NZ) for PHARMAC Schedule Listing (per Supplier UOM) | bar: Device4; Device6; Device8; Device10; Device12; Device14; Device16
Is pricing Free into Store? (Y/N) – if no list all additional costs | bar: Device4; Device6; Device8; Device10; Device12; Device14; Device16
Any conditions to accessing offered price | bar: Device4; Device6; Device8; Device10; Device12; Device14; Device16
Feeding Pump/Fleet management (Supplier managed / DHB Hospital managed / Other (specify)- please include details of respective responsibilities and whether these vary depending on purchasing model) If you have your own documents which provide this information-please attach and reference the document and the relevant page number(s) as your answer for this question in this worksheet. | bar: Device4; Device6; Device8; Device10; Device12; Device14; Device16
UNSPSC Commodity # | bar: Device4; Device6; Device8; Device10; Device12; Device14; Device16
GS1 number (GTIN) if available
Product Specifications / Questions
Section One: Product Description
Product Description (used on Purchase Orders) This is the product description used by your company to identify a product
Type of Feeding Pump (eg ambulatory Enteral Feeding pump, Enteral Syringe Driver)
Intended use of Feeding Pump (eg for the administration of fluids requiring precisely controlled infusion rates into a patients gastrointestinal track including enteral solutions and other therapeutic fluids)
Please indicate if the Feeding Pump is designed for 'bedside' or 'ambulatory' use.
Is this Feeding Pump designed for use in any specialised clinical environments? (Y/N) If Yes - please list the relevant clinical environments(eg Neonatal Intensive Care Units, Oncology)
Is this Feeding Pump intended for use in a DHB Hospital supported community setting (Y/N) (eg in patients home)?
Are there any known contraindication to use? (please list)
Section Two: Regulatory Approvals + Applicable Standards + Markets
WAND registration number (You must be able to legally supply your proposed products to New Zealand DHB Hospitals as evidenced by WAND registration number. Where WAND is not applicable to a proposed product you must state the reason why it is not applicable)
List the international regulatory bodies that have approved the product
List international regulatory approval reference numbers (eg ARTG ######) please attach a copy of one of the international approval certifications
Does the proposed product comply with all applicable New Zealand Laws and Regulations? (Y/N)
List countries where product is in clinical use (eg Australia, US, UK, Japan)
State the extent to which your company complies with AS/NZS 3551:2012 'Management programs for medical equipment', in the context of your companies role (if any) in managing and maintaining the Feeding Pump.
State the extent to which your company complies with AS/NZS 4187:2014 'Reprocessing of reusable medical devices in health service organizations' in the context of your companies role (if any) in managing and maintaining the Feeding Pump (N/A if not applicable)
Complies with Electricity (Safety) Regulations 2010 for electrical medical devices- IEC 60601-1 (Y/N)
List other relevant standards the product complies with (if any)
Section Three: New Zealand DHB Hospital Market + Contracts Information
New Zealand Market
Is the product currently used in NZ DHB Hospitals? (Y/N)
Is the product superseding a product currently used in NZ DHB Hospitals? (Y/N) if Yes-please detail current product
If not used in New Zealand DHB Hospitals, please provide 3 clinical reference sites where the Feeding Pump is currently being used - these must be clinical sites of a similar nature to DHB Hospitals. (provide Name of Hospital, Region, and Country)
Has this product been submitted via another PHARMAC procurement process? (Y/N) If yes, please identify which process eg Infusion Devices RFP)
Has this product been submitted via a New Zealand Health Partnerships procurement process? (Y/N) If yes, please identify which process
Contracts / Standing Agreements currently in place with NZ DHB Hospitals if not a current supplier put N/A for these questions
List contracts and associated Expiry Dates (this includes contracts that have expired but where the old contract has essentially become a standing agreement) | bar: Device4; Device6; Device8; Device10; Device12; Device14; Device16
Please list the current purchasing models available to and that have been used by DHB Hospitals in the last 5 years for the Feeding Pump. Please also identify which DHBs have utilised the model For example - Outright purchase; - Lease; - Rent; - Rent to buy; and - Supplier provided equipment options (eg Free on loan) | bar: Device4; Device6; Device8; Device10; Device12; Device14; Device16
If there are any differences in the purchasing models proposed to what your currently provide DHB Hospitals, please identify the differences | bar: Device4; Device6; Device8; Device10; Device12; Device14; Device16
List Feeding Pump purchasing options currently provided to DHB Hospitals that are not included in proposal, and reason for this | bar: Device4; Device6; Device8; Device10; Device12; Device14; Device16
With respect to current supply arrangements, are there any supply arrangement terms/conditions which are DHB Hospital specific? Please identify DHB Hospital and term | bar: Device4; Device6; Device8; Device10; Device12; Device14; Device16
Other relevant information about current contracts/standing agreements in place with DHB Hospitals If you have your own documents which provide this information-please attach and reference the document and the relevant page number(s) as your answer for this question in this worksheet. | bar: Device4; Device6; Device8; Device10; Device12; Device14; Device16
Additional cost and volume data/information from that which is provided in Attachment 02- to clarify current supply arrangements If you have your own documents which provide this information-please attach and reference the document and the relevant page number(s) as your answer for this question in this worksheet. | bar: Device4; Device6; Device8; Device10; Device12; Device14; Device16
Section Four: Feeding Pump features
Compatibility
Please detail any compatibility requirements with other Feeding Device products (eg only compatible with giving sets with a EN-Brand™ connector unless used with an EN-Brand™-universal adaptor)
Is this Feeding Pump able to deliver all enteral and/or oral Special Foods currently listed on the Pharmaceutical Schedule? (Y/N) If No, please provide further details on which products the pump is unable to be used with and why
Physical features
Feeding Pump dimensions length x width x height (in mm)
Feeding Pump weight including battery (in kg)
Feeding Pump mechanism (eg peristaltic, piston)
does positioning the Feeding Pump in other than an upright position, adversely affects the capacity and accuracy of the pumping mechanism? (Y/N) If yes, please provide details
Is the Feeding Pump recommended for ambulatory use? (Y/N)
the ambient operating temperature range (in °C)
Delivery modes and setting
Feeding Pump delivery modes, please list eg • Continuous infusion • Volume / time • Intermittent • Clinician Controlled Bolus • Patient Controlled Bolus
Feeding Pump flow rates- the minimum and maximum flow rate for continuous feed indicating the percentage of accuracy of the pump based on standard feed of 1.0 Kcal per millilitre, specifying what fluid and viscosities the flow rate is based on
Power Source
Mains and battery powered? (Y/N)
Compatible with New Zealand power supply and power points for mains power and would operate satisfactorily with DHB Hospital generator power supply (Y/N)
Disposable Batteries? (Y/N) If yes - list number and type required
Rechargeable Batteries? (Y/N) If yes- please provide type (eg lithium)
Battery only operating time (hours) please outline what parameters this is based on
Recharge time (hours)
Recommended battery replacement frequency
Battery warranty period (N/A if not applicable)
Auto save function - settings maintained for option of restoration when powering up (Y/N)
Feeding Pump display
Does the display indicate if an infusion is in progress? (Y/N)
Does the display indicate if an infusion is running on mains power or battery (Y/N)
Does the display indicate how much battery life is remaining (Y/N)
Please list other parameters displayed by the Feeding Pump? eg infusion rate, total volume to be infused, volume delivered
Alarms
set dislodgement/free-flow detection (Y/N)
empty bag/ container/infusion complete detection (Y/N)
occlusion alarm (Y/N)
battery depleted/low alarm (Y/N)
Adjustable alarm volume settings? (Y/N)
Alarm can be switched off (Y/N)
The alarm can be disabled (Y/N)
Recommended useful life of the Feeding Pump, as suggested by the manufacturer
Other Feeding Pump features not specifically identified (eg lock-out features) Please attach additional details on your Feeding Pumps physical / operation features to your proposal. In the adjacent column provide attached document name + applicable page numbers
Section Five: Feeding Pump Technology Status
How long has this technology has been commercially available globally (state when the model was launched) | bar: Device4; Device6; Device8; Device10; Device12; Device14; Device16
What is the life expectancy (useful life) of the Feeding Pump?
How long is the Feeding Pump expected to be commercially marketed for? (years)
Any projected End of Manufacturing or End of Life Date set for the Feeding Pump?
What is the manufacturing company’s policy regarding availability and pricing of spare parts after production of the Feeding Pump stops?
Section Six: Feeding Pump ICT / Software
Software version(s)
Software version(s) available (please list)
Key features of software version(s)
Feeding Pump System Network
Can the Feeding Device system operate via a wired network? (Y/N)
Can the Feeding Device system operate via a wireless network? (Y/N)
Please list any network requirements your Feeding Pump has
Confirm any ICT costs, e.g. cost per device, licensing costs, on-going support costs, etc. have been outline in Attachment 02- Feeding Devices Financial Analysis (Y/N)
Upgrades-Software AND Hardware as applicable
State your policy in regard to future updates critical for ongoing operation of the Feeding Device. Any costs associated with this MUST be outlined in Attachment 02- Feeding Devices Financial Analysis
State your policy in regard to future updates which would enhance the operation of the Feeding Device. Any costs associated with this MUST be outlined in Attachment 02- Feeding Devices Financial Analysis
Please confirm that any upgrades which support patient safety are provided at no cost (Y/N) if No- you MUST provide rationale + and outline costs in Attachment 02- Feeding Devices Financial Analysis
Please confirm that any upgrades which rectify software issues/bugs are provided at no cost (Y/N) if No - you MUST provide rationale + and outline costs in Attachment 02- Feeding Devices Financial Analysis
State what hardware and software upgrades are currently or soon to be available and projected dates. Outline any associated costs in Attachment 02- Feeding Devices Financial Analysis
Section Seven: Management of private data
Does the Feeding Pump and any associated external software display, transmit or maintain private data (for example electronic patient records)? (Y/N)
List the types of private data the Feeding Pump and any associated external software has the ability to store: (any patient specific data?)
As part of the supporting service you provide for your Feeding Pump, does your company have/need access to private data? (Y/N)
Please provide a summary of how your company manages, stores, uses, secures and protects private data it has access to in association with the Feeding Pump.
Section Eight: Training and Support
Training services
Please provide an overview of the training, education and support your company would provide for Clinicians including: • frequency • location • format • content • staff groups (eg hospital, community) • other relevant information (any associated costs must be provided in Attachment 02) If you have your own documents which provide this information-please attach and reference the document and the relevant page number(s) as your answer for this question in this worksheet.
Please provide an overview of the training, education and support your company would provide for Clinical Engineers including: • frequency • location • format • content • specify the training outcomes for clinical engineers you are offering (eg calibration only, preventive maintenance servicing and recalibration, full corrective maintenance) • other relevant information (any associated costs must be provided in Attachment 02) If you have your own documents which provide this information-please attach and reference the document and the relevant page number(s) as your answer for this question in this worksheet.
Please provide an overview of the training, education and support your company would provide for patients and/or their carers including: • frequency • location • format • content • other relevant information if this is intended to be provided by a patient's clinician please state this If you have your own documents which provide this information-please attach and reference the document and the relevant page number(s) as your answer for this question in this worksheet.
Training and education materials
Outline the training and education materials that would be provided to DHB Hospitals purchasing the proposed products: • for DHB Hospital staff (including clinical engineers) • for patients and carers If you have your own documents which provide this information-please attach and reference the document and the relevant page number(s) as your answer for this question in this worksheet.
Your product support staff
information about your staff that would be involved in supporting the proposed products (including those staff providing clinical training and support and staff providing clinical engineering services/support). Include: • technical skills; • experience; • qualifications; and • other role responsibilities (eg if they are responsible for supporting other major Device Categories etc) If you have your own documents which provide this information-please attach and reference the document and the relevant page number(s) as your answer for this question in this worksheet.
Confirm any costs associated with your training have been outlined in Attachment 02- Feeding Devices Financial Analysis(Y/N)
Transition Support
Experience transitioning DHB Hospitals to your Feeding Devices or other similar facility to your Feeding Devices Please outline: • extent of transition (eg switching multiple product ranges within a category for majority of DHB use, or one product range for portion of DHBs Hospital use); • when transition occurred; • extra resources utilised (eg whether international product/transition specialist were called on for a period); If you have your own documents which provide this information-please attach and reference the document and the relevant page number(s) as your answer for this question in this worksheet.
Transition support Include an outline of the support that would be provided to DHB Hospitals transitioning to the proposed products. Attach a detailed transition plan setting out the transition steps, roles and responsibilities and timeframes. Note name of attachment in response column.
Customer Support
Customer Support hours
Customer support contact number
Complaints management processes Include overview of key roles and responsibilities for investigation and response, and escalation and continuous quality improvement processes.
Section Nine: Warranty
the period (months) and extent of the warranty period: please also include all terms and conditions
please detail any performance verification, preventative/corrective maintenance that your company would undertake free of charge during the warranty period: Please include frequency of service and nature of work
Section Ten: Equipment Maintenance and Management Services
List the Feeding Pump performance calibration & verification support / services provided by your company (both pre-supply and ongoing) (eg .physical, functional and electric tests to confirm the Feeding Pump/System is capable of performing safely for its intended use) Please note whether there is any difference after Equipment warranty expiry. Outline any associated costs in Attachment 02- Feeding Devices Financial Analysis
List the Feeding Pump preventative maintenance support/services provided by your company. Please note whether there is any difference after Equipment warranty expiry. Outline any associated costs in Attachment 02- Feeding Devices Financial Analysis
How often would performance calibration, verification, preventative maintenance support/services be provided by your company? (eg electrical testing every 6 months)
List the Feeding Pump corrective maintenance support/service provided by your company. Please note whether there is any difference after Equipment warranty expiry. Outline any associated costs in Attachment 03- Financial Analysis for Equipment
Materials provided for performance verification, preventative maintenance, and corrective maintenance Include whether your company provides: • Comprehensive operating/user documents. • Comprehensive technical/service documents and any specific equipment needed for servicing • Please indicate format of material- electronic or hard-copy. • Document update policy Outline any associated costs in Attachment 02- Feeding Devices Financial Analysis
Access to materials, spare parts, equipment, or your service needed for performance verification, preventative maintenance, and corrective maintenance of Feeding Pump. Include • where materials, spare parts and equipment are stored/located, and turnaround time from date of order of parts/servicing; and • whether there is access to a loan Feeding Pump free of charge during these maintenance services. Outline any associated costs in Attachment 02- Feeding Devices Financial Analysis
If performance verification, preventative maintenance, and corrective maintenance of Feeding Pump is required to occur outside DHB Hospital premises- please outline how this is managed Include whether you provide replacement Feeding Pumps. Outline any associated costs in Attachment 02- Feeding Devices Financial Analysis
What is your company's replacement and repair policy?
Any other relevant information about maintenance, servicing and calibration services
Section Eleven: Supplier provided community support
If your pump is intended for use outside of the DHB Hospital Setting: Please outline any services you provide in the community eg Feeding Pump tracking, and direct to patient delivery of product provided free of charge, patient training services Outline any associated costs in Attachment 02- Feeding Devices Financial Analysis
Other important information required to understand the Feeding Pump community support services your company is offering. | bar: Device4; Device6; Device8; Device10; Device12; Device14; Device16
Section Twelve: Supply Chain
Manufacturer
Country of Manufacture
Distributor
Do you currently hold stock of this item in New Zealand? (Y/N) if No, please indicate Lead Time to source item
Primary warehouse location(s) (City, Country) (eg Auckland, New Zealand)
Is this Feeding Pump available on consignment? (Y/N)
Do you have means to hold stock of this item in New Zealand, if DHB Hospitals require this? (Y/N) if Yes- please detail capacity and locations if No, detail rationale
Manufacture to delivery From start of manufacture to delivery to DHB Hospitals or DHB Hospital nominated locations (eg home delivery), include: • steps • who is involved (eg international freight carrier, warehousing, logistic providers, New Zealand freight providers) • timeframes for each step
Section Thirteen: Failure to Supply and Product Recall Management
Key supply continuity risks and mitigations Include the key risks to continuity of supply to DHB Hospitals and the steps that will be taken to mitigate these risks. If you have your own documents which provide this information-please attach and reference the document and the relevant page number(s) as your answer for this question in this worksheet.
Response to unexpected increase in demand Include: • any access to alternative international supply and timeframes in which these could be mobilised/available for use in NZ DHBs • communication with DHB Hospitals • communication with PHARMAC • how stock is prioritised If you have your own documents which provide this information-please attach and reference the document and the relevant page number(s) as your answer for this question in this worksheet.
Provide how you would manage a recall for this Feeding Pump or any parts, accessories or dedicated consumables required for its full use If you have your own documents which provide this information-please attach and reference the document and the relevant page number(s) as your answer for this question in this worksheet.
Section Fourteen: Feeding Pump loan options, including but not limited to free on loan, lease, rent and rent to buy arrangements (if being proposed)
Loan type(s) offered
Please provide a summary of the loan model offered eg free-on-loan- enteral feeding pumps + accessories are provided without charge for use with associated consumables (associated consumables being paid by the applicable DHB Hospital/s)
Further details of proposed loan arrangement
Number, and location(s) of units in fleet that DHB Hospitals can access
Contingencies for peaks in demand
Assumptions used to estimate fleet size
Delivery and retrieval timeframe(s)
Delivery, receipt and pre-use procedures
Consignment arrangements
Management and operational arrangements including Feeding Pump tracking
Respective supplier and DHB Hospital responsibilities for fleet management eg who bares responsibility for Feeding Pump, who bares responsibility for service and maintenance of Feeding Pump etc
Risk and liability during key exchange and activity points
Product support, training and education
Termination terms and conditions
Any differences between current arrangements with DHB Hospitals and proposed arrangements
Other relevant information about the arrangement(s) being proposed eg minimum requirements for the DHB Hospital/s to access Feeding Pumps both at commencement of the agreement and throughout the agreement?
Section Fifteen: Pricing information/ Financial impact
Confirm that you have filled in Attachment 02- Feeding Devices Financial Analysis and outlined any costs associated with your Feeding Pump in the 'Enteral Feeding Pumps' Tab (Y/N)
Financial impact summary Include overview of how proposed pricing compares to that currently offered to DHB Hospitals.
Alternative pricing models Include: • details of any alternative pricing models and associated qualification requirements • details of any DHB Hospitals currently accessing the alternative pricing models Any alternative pricing models must have financial analysis in Attachment 02- Feeding Devices Financial Analysis
Pricing information: include any information related to pricing provided including any related conditions If you have your own documents which provide this information-please attach and reference the document and the relevant page number(s) as your answer for this question in this worksheet.
Please outline how your proposals supports equal opportunity for value across all DHB Hospitals
If you are a current supplier, please outline how your proposals would support DHB Hospitals currently purchasing your Feeding Pumps to transition from their current supply arrangements to your proposed national supply arrangement should this eventuate. please note any differences between current supply agreements and what you are proposing (if any) by DHB Hospital
Other relevant information
Additional options Include any additional proposals or suggestions not expressly identified in this RFP that you would like PHARMAC to consider as part of this proposal.

## Feeding Pump Spare Parts
Feeding Pump Spare Parts
Spare Parts for Feeding Pumps (eg battery, replacement key pad)
in the context of this RFP these products would fall under the 'Feeding Equipment and Associated Devices' group of Feeding Devices
examples of Spare Parts have been provided in the 'UNSPSC # + Subcategories' Tab
Medical Device Purchasing and Ordering Details | [13 empty] | Supply Chain |  |  |  | Regulation and International Markets | New Zealand DHB Market + Contracts Information | [5 empty] | Detailed product information
Supplier Name | Supplier Product Code | Brand/Trade Name (Brand name that appears on product/ product packaging) | Product Description (used on Purchase Orders) This is the product description used by your company to identify a product | UNSPSC Commodity # The 'UNSPSC # + Subcategories' tab provides some example UNSPSC numbers | GS1 number (GTIN) if available | Is the product available on consignment? (Y/N) | Supplier Unit Of Measure (UOM) (eg Each) NB: This must reflect minimum order quantity for the product | Single Unit (eg Battery) | Number of Single Units per Supplier UOM (eg 1) | Is the Supplier UOM different from how you have historically sold this product? (Y/N)-If yes, please describe how this differs from current supply (if product has not been sold into NZ DHBs put N/A) | Price Offer ($NZ) for PHARMAC Schedule Listing (per Supplier UOM) | Is pricing Free into Store? (Y/N) – if no detail | Is the price offered higher for some or all DHBs currently purchasing this product? (Y/N)- please provide rationale for increased price. (N/A if price is cost neutral, cost savings or product is not currently sold in NZ DHB Hospitals). | Manufacturer | Country of Manufacture | Primary warehouse location(s) (City, Country) (eg Auckland, New Zealand) | Do you currently hold stock of this item in New Zealand? (Y/N) if No, please indicate Lead Time to source item | WAND registration number- if applicable | Is the product currently sold in NZ DHBs? (Y/N) | Total volume sold (UOM) to DHBs 1 Oct 17 - 30 Sep 18 (If no sales =0) | Total sales revenue in $NZ to DHBs 1 Oct 17 - 30 Sep 18 (If no sales =0) | Is this product already supplied under a PHARMAC agreement? (Y/N) | Has this product been submitted via another PHARMAC procurement process? (Y/N) If yes, please identify which process eg Interventional Radiology RFP) | Has this product been submitted via a New Zealand Health Partnerships procurement process? (Y/N) If yes, please identify which process | Product type (eg Battery) | Please list Pump Model(s) part is intended for, with pump product code(s) | Full product description/specifications | Expected useful life (eg 2 years) | Warranty period | Additional Comments

## Feeding Pump Accessories
Feeding Pump Accessories
Non-consumable Feeding Pump accessories, (eg Feeding Pump clamps, poles, charger)
in the context of this RFP these products would fall under the 'Feeding Equipment and Associated Devices' group of Feeding Devices
examples of Feeding Pump Accessories have been provided in the 'UNSPSC # + Subcategories' Tab and in the 'Scope' section of the primary RFP document
Medical Device Purchasing and Ordering Details | [13 empty] | Supply Chain | [5 empty] | Regulation and International Markets |  |  | New Zealand DHB Market Information | [6 empty] | Detailed product information
Supplier Name | Supplier Product Code | Brand/Trade Name (Brand name that appears on product/ product packaging) | Product Description (used on Purchase Orders) This is the product description used by your company to identify a product | UNSPSC Commodity # The 'UNSPSC # + Subcategories' tab provides some example UNSPSC numbers | GS1 number (GTIN) if available | Is the product available on consignment? (Y/N) | Supplier Unit Of Measure (UOM) (eg Each) NB: This must reflect minimum order quantity for the product | Single Unit (eg Pole) | Number of Single Units per Supplier UOM (eg 1) | Is the Supplier UOM different from how you have historically sold this product? (Y/N)-If yes, please describe how this differs from current supply (if product has not been sold into NZ DHBs put N/A) | Price Offer ($NZ) for PHARMAC Schedule Listing (per Supplier UOM) | Is pricing Free into Store? (Y/N) – if no detail | Is the price offered higher for some or all DHBs currently purchasing this product? (Y/N)- please provide rationale for increased price. (N/A if price is cost neutral, cost savings or product is not currently sold in NZ DHB Hospitals). | Manufacturer | Country of Manufacture | Primary warehouse location(s) (City, Country) (eg Auckland, New Zealand) | Do you currently hold stock of this item in New Zealand? (Y/N) if No, please indicate Lead Time to source item | Shelf life of product from date of manufacture- in months (eg 36 months) | Minimum shelf life of product at time of supply to DHBs (eg 18 months) | WAND registration number (You must be able to legally supply your proposed products to New Zealand DHB Hospitals as evidenced by WAND registration number. Where WAND is not applicable to a proposed product you must state the reason why it is not applicable) | List countries where product is in clinical use (eg Australia, US, UK, Japan) | Provide all applicable international compliance certificate numbers eg TGA,CE, FDA Include TGA/CE/FDA before each number provided Note: please provide copies of compliance certificates with RFP submission, if more than one type of certificate is available for a particular product/product range please supply only a single certificate in your submission with others available on request. | Is the product currently sold in NZ DHBs? (Y/N) | Total volume sold (UOM) to DHBs 1 Oct 17 - 30 Sep 18 (If no sales =0) | Total sales revenue in $NZ to DHBs 1 Oct 17 - 30 Sep 18 (If no sales =0) | If this product range is not used in New Zealand DHB hospitals, please provide 3 clinical reference sites where the product range is being used (provide Name of Hospital, Province, and Country) | Is this product already supplied under a PHARMAC agreement? (Y/N) | Has this product been submitted via another PHARMAC procurement process? (Y/N) If yes, please identify which process eg Interventional Radiology RFP) | Has this product been submitted via a New Zealand Health Partnerships procurement process? (Y/N) If yes, please identify which process | Product type (eg Enteral Infusion Pole) | Please list Pump Model(s) accessory is intended for, with pump product codes | Intended use (eg designed to support continuous enteral infusion and patient mobility with hooks for ready-to-hang feed bags and wheels for patient mobility - suitable for gravity-fed sets and small infusion pumps with pole clamps) | Full product description/specifications please include full product specifications and identify product features which differ within and between your product ranges, for kits please provide specifications for each kit item. (eg Pole and Base Dimensions- height (cm), width (cm), depth (cm), circumference (cm) weight (kg), number of wheels, number of hooks) | Sterile (Y/N) | Product materials Please also indicate whether your product includes any of the following: BPA, DEHP, PVC or Latex. | Single use ( S ), Defined life multi-use ( DL ) or Reusable ( R ) If defined life multi-use – please provide defined life details (eg DL-14 day indwelling time) | Warranty period (N/A if not applicable) | Additional Comments

## Feeding Pump Consumables
Enteral Pump Dedicated Consumables
Dedicated Consumable Feeding Devices
in the context of this RFP these products would fall under the 'Feeding Equipment and Associated Devices' group of Feeding Devices
examples of Dedicated Consumable Feeding Devices have been provided in the 'UNSPSC # + Subcategories' Tab and in the 'Scope' section of the primary RFP document
Medical Device Purchasing and Ordering Details | [13 empty] | Supply Chain | [5 empty] | Regulation and International Markets |  |  | New Zealand DHB Market Information | [6 empty] | Detailed product information
Supplier Name | Supplier Product Code | Brand/Trade Name (Brand name that appears on product/ product packaging) | Product Description (used on Purchase Orders) This is the product description used by your company to identify a product | UNSPSC Commodity # The 'UNSPSC # + Subcategories' tab provides some example UNSPSC numbers | GS1 number (GTIN) if available | Is the product available on consignment? (Y/N) | Supplier Unit Of Measure (UOM) (eg Case) NB: This must reflect minimum order quantity for the product | Single Unit (eg Enteral Feeding Gravity Administration Set ) | Number of Single Units per Supplier UOM (eg 20) | Is the Supplier UOM different from how you have historically sold this product? (Y/N)-If yes, please describe how this differs from current supply (if product has not been sold into NZ DHBs put N/A) | Price Offer ($NZ) for PHARMAC Schedule Listing (per Supplier UOM) | Is pricing Free into Store? (Y/N) – if no detail | Is the price offered higher for some or all DHBs currently purchasing this product? (Y/N)- please provide rationale for increased price. (N/A if price is cost neutral, cost savings or product is not currently sold in NZ DHB Hospitals). | Manufacturer | Country of Manufacture | Primary warehouse location(s) (City, Country) (eg Auckland, New Zealand) | Do you currently hold stock of this item in New Zealand? (Y/N) if No, please indicate Lead Time to source item | Shelf life of product from date of manufacture- in months (eg 36 months) | Minimum shelf life of product at time of supply to DHBs (eg 18 months) | WAND registration number (You must be able to legally supply your proposed products to New Zealand DHB Hospitals as evidenced by WAND registration number. Where WAND is not applicable to a proposed product you must state the reason why it is not applicable) | List countries where product is in clinical use (eg Australia, US, UK, Japan) | Provide all applicable international compliance certificate numbers eg TGA,CE, FDA Include TGA/CE/FDA before each number provided Note: please provide copies of compliance certificates with RFP submission, if more than one type of certificate is available for a particular product/product range please supply only a single certificate in your submission with others available on request. | Is the product currently sold in NZ DHBs? (Y/N) | Total volume sold (UOM) to DHBs 1 Oct 17 - 30 Sep 18 (If no sales =0) | Total sales revenue in $NZ to DHBs 1 Oct 17 - 30 Sep 18 (If no sales =0) | If this product range is not used in New Zealand DHB hospitals, please provide 3 clinical reference sites where the product range is being used (provide Name of Hospital, Province, and Country) | Is this product already supplied under a PHARMAC agreement? (Y/N) | Has this product been submitted via another PHARMAC procurement process? (Y/N) If yes, please identify which process eg Interventional Radiology RFP) | Has this product been submitted via a New Zealand Health Partnerships procurement process? (Y/N) If yes, please identify which process | Product type (eg Enteral Feeding Gravity Administration Set) | Please list Pump Model(s) accessory is intended for, with pump product code(s) | Intended use (eg designed for enteral administration of Special Foods into a patient’s gastrointestinal tract by gravity flow) | Full product description/specifications please include full product specifications and identify product features which differ within and between your product ranges, for kits please provide specifications for each kit item. (eg universal bag spike, drip chamber, 250 cm violet transparent tube, tube priming volume of 30 mL, includes integral medication port with cap, includes a roller clamp, and EN-Brand™ connector ) | Does this product meet the ISO 80369-3:2016* standard? *small-bore connectors for enteral applications (Y/N or N/A) If No, does your company have future transition plans to meet this standard for this product-type?. if N/A- explain why this is not applicable to this product | Speciality department (as applicable) please identify if the product is intended to be used in a specific clinical setting eg NICU (if not state N/A) | Sterile (Y/N) | Product materials Please also indicate whether your product includes any of the following: BPA, DEHP, PVC or Latex. | Single use ( S ), Defined life multi-use ( DL ) or Reusable ( R ) If defined life multi-use – please provide defined life details (eg DL-14 day indwelling time) | Are set/kit contents available as individual items? (Y/N or N/A) | If set/kit contents are available as individual items please provide the product codes in this column | Additional Comments

## Non-Dedicated Feeding Devices
Non-Dedicated Feeding Devices: Individual Devices
All Individual Feeding Devices that are not 'dedicated' to specific Feeding Equipment
in the context of this RFP these products would fall under the 'Non-Dedicated Feeding Devices' group of Feeding Devices
examples of 'Non-Dedicated Feeding Devices: Individual Devices' have been provided in the 'UNSPSC # + Subcategories' Tab and in the 'Scope' section of the primary RFP document
Medical Device Purchasing and Ordering Details | [13 empty] | Supply Chain | [5 empty] | Regulation and International Markets |  |  | New Zealand DHB Market + Contracts Information | [6 empty] | Detailed product information
Supplier Name | Supplier Product Code | Brand/Trade Name (Brand name that appears on product/ product packaging) | Product Description (used on Purchase Orders) This is the product description used by your company to identify a product | UNSPSC Commodity # The 'UNSPSC + Subcategory' tab provides some example UNSPSC numbers | GS1 number (GTIN) if available | Is the product available on consignment? (Y/N) | Supplier Unit Of Measure (UOM) (eg Box) NB: This must reflect minimum order quantity for the product | Single Unit (eg PEG button device) | Number of Single Units per Supplier UOM (eg 5) | Is the Supplier UOM different from how you have historically sold this product? (Y/N)-If yes, please describe how this differs from current supply (if product has not been sold into NZ DHBs put N/A) | Price Offer ($NZ) for PHARMAC Schedule Listing (per Supplier UOM) | Is pricing Free into Store? (Y/N) – if no detail | Is the price offered higher for some or all DHBs currently purchasing this product? (Y/N)- please provide rationale for increased price. (N/A if price is cost neutral, cost savings or product is not currently sold in NZ DHB Hospitals). | Manufacturer | Country of Manufacture | Primary warehouse location(s) (City, Country) (eg Auckland, New Zealand) | Do you currently hold stock of this item in New Zealand? (Y/N) if No, please indicate Lead Time to source item | Shelf life of product from date of manufacture- in months (eg 36 months) | Minimum shelf life of product at time of supply to DHBs (eg 18 months) | WAND registration number (You must be able to legally supply your proposed products to New Zealand DHB Hospitals as evidenced by WAND registration number. Where WAND is not applicable to a proposed product you must state the reason why it is not applicable) | List countries where product is in clinical use (eg Australia, US, UK, Japan) | Provide all applicable international compliance certificate numbers eg TGA,CE, FDA Include TGA/CE/FDA before each number provided Note: please provide copies of compliance certificates with RFP submission, if more than one type of certificate is available for a particular product/product range please supply only a single certificate in your submission with others available on request. | Is the product currently sold in NZ DHBs? (Y/N) | Total volume sold (UOM) to DHBs 1 Oct 17 - 30 Sep 18 (If no sales =0) | Total sales revenue in $NZ to DHBs 1 Oct 17 - 30 Sep 18 (If no sales =0) | If this product range is not used in New Zealand DHB hospitals, please provide 3 clinical reference sites where the product range is being used (provide Name of Hospital, Province, and Country) | Is this product already supplied under a PHARMAC agreement? (Y/N) | Has this product been submitted via another PHARMAC procurement process? (Y/N) If yes, please identify which process eg Interventional Radiology RFP) | Has this product been submitted via a New Zealand Health Partnerships procurement process? (Y/N) If yes, please identify which process | Individual Feeding Device Subcategory Please select a Feeding Device subcategory from drop down- see 'UNSPSC # + Subcategories' Tab for examples | Define Other (if 'Other' is selected in column AE, please define) | Product type (eg Radio-opaque polyurethane percutaneous endoscopic jejunostomy tube) | Intended use (eg For long term enteral feeding with PEG device) | Placement method (eg radiologically placed- tip weighted, endoscopically placed through the scope, placement guided by magnetic devices) N/A if not applicable | Full product description/specifications please include full product specifications and identify product features which differ within and between your product ranges, for kits please provide specifications for each kit item. (eg Fr 9 x 120cm radio-opaque polyurethane percutaneous endoscopic jejunostomy tube for use with FR 15 PEG, with intestinal tube markings every 3 cm, distal double S-bend (end of intestinal tube) ) | Does this product meet the ISO 80369-3:2016* standard? *small-bore connectors for enteral applications (Y/N or N/A) If No, does your company have future transition plans to meet this standard for this product-type?. if N/A- explain why this is not applicable to this product | Connector(s) please identify and provide details about all connectors (eg Female EN-Brand™ small bore connector at Nutrition end) | Compatibility please detail any compatibility requirement with other Feeding Device products (eg only compatible with Feeding Devices with a EN-Brand™ connector unless used with an EN-Brand™-universal adaptor) | Colour (eg Purple plunger) | Sterile (Y/N) | Radiopaque? (Y/N) | Product materials Please also indicate whether your product includes any of the following: BPA, DEHP, PVC or Latex. | Single use ( S ), Defined life multi-use ( DL ) or Reusable ( R ) If defined life multi-use – please provide defined life details (eg DL-14 day indwelling time) | Additional Comments

## Kits + Sets, eg placement kits
Non-Dedicated Feeding Devices: Kits & Sets
Any Feeding Device product with more than one individual component and are not 'dedicated' to specific Feeding Equipment
in the context of this RFP these products would fall under the 'Non-Dedicated Feeding Devices' group of Feeding Devices
examples of 'Non-Dedicated Feeding Devices: Kits & Sets' have been provided in the 'UNSPSC # + Subcategories' Tab and in the 'Scope' section of the primary RFP document
Medical Device Purchasing and Ordering Details | [13 empty] | Supply Chain | [5 empty] | Regulation and International Markets |  |  | New Zealand DHB Market + Contracts Information | [6 empty] | Detailed product information
Supplier Name | Supplier Product Code | Brand/Trade Name (Brand name that appears on product/ product packaging) | Product Description (used on Purchase Orders) This is the product description used by your company to identify a product | UNSPSC Commodity # The 'UNSPSC # + Subcategories' tab provides some example UNSPSC numbers | GS1 number (GTIN) if available | Is the product available on consignment? (Y/N) | Supplier Unit Of Measure (UOM) (eg Kit) NB: This must reflect minimum order quantity for the product | Single Unit (eg Kit) | Number of Single Units per Supplier UOM (eg 1) | Is the Supplier UOM different from how you have historically sold this product? (Y/N) If yes, please describe how this differs from current supply (if product has not been sold into NZ DHBs put N/A) | Price Offer ($NZ) for PHARMAC Schedule Listing (per Supplier UOM) | Is pricing Free into Store? (Y/N) – if no detail | Is the price offered higher for some or all DHBs currently purchasing this product? (Y/N)- please provide rationale for increased price. (N/A if price is cost neutral, cost savings or product is not currently sold in NZ DHB Hospitals). | Manufacturer | Country of Manufacture | Primary warehouse location(s) (City, Country) (eg Auckland, New Zealand) | Do you currently hold stock of this item in New Zealand? (Y/N) if No, please indicate Lead Time to source item | Shelf life of product from date of manufacture- in months (eg 36 months) | Minimum shelf life of product at time of supply to DHBs (eg 18 months) | WAND registration number (You must be able to legally supply your proposed products to New Zealand DHB Hospitals as evidenced by WAND registration number. Where WAND is not applicable to a proposed product you must state the reason why it is not applicable) | List countries where product is in clinical use (eg Australia, US, UK, Japan) | Provide all applicable international compliance certificate numbers eg TGA,CE, FDA Include TGA/CE/FDA before each number provided Note: please provide copies of compliance certificates with RFP submission, if more than one type of certificate is available for a particular product/product range please supply only a single certificate in your submission with others available on request. | Is the product currently sold in NZ DHBs? (Y/N) | Total volume sold (UOM) to DHBs 1 Oct 17 - 30 Sep 18 (If no sales =0) | Total sales revenue in $NZ to DHBs 1 Oct 17 - 30 Sep 18 (If no sales =0) | If this product range is not used in New Zealand DHB hospitals, please provide 3 clinical reference sites where the product range is being used (provide Name of Hospital, Province, and Country) | Is this product already supplied under a PHARMAC agreement? (Y/N) | Has this product been submitted via another PHARMAC procurement process? (Y/N) If yes, please identify which process eg Interventional Radiology RFP) | Has this product been submitted via a New Zealand Health Partnerships procurement process? (Y/N) If yes, please identify which process | Product type (eg Introducer Kit for Gastronomy Feeding Tube) | Intended use (eg intended to facilitate the primary placement of balloon-retained enteral feeding tubes) | Placement method (eg radiologically placed, percutaneous endoscopic placement using 'pull' method) | Full product description/specifications please include full product specifications and identify product features which differ within and between your product ranges, please provide specifications for each kit item including each components of smaller kits within a lager kit. (eg Kit Components: (1) Gastrointestinal Anchor Set made up of: (1)17 G x 120 mm introducer needle, (1 introducer cartridge, (2) suture anchors, (1) 19G x 750 mm straight guidewire. (1) Haemostat (1) #11 Scalpel (1) 18 Fr Dilator for use with 14 Fr Gastronomy Feeding Tube (tube not included in kit) (1) Stoma Measuring Device (2) 10 mL Luer Lock syringes) | Does any item in this Kit meet the ISO 80369-3:2016* standard? *small-bore connectors for enteral applications If Yes- please identify If No, does your company have future transition plans for any items in this Kit to meet this standard for that product-type?. if N/A- explain why this is not applicable to this product | Connector(s) please identify and provide details about all connectors (eg Female EN-Brand™ small bore connector at Nutrition end) | Compatibility please detail any compatibility requirement with other Feeding Device products (eg only compatible with Feeding Devices with a EN-Brand™ connector unless used with an EN-Brand™-universal adaptor) | Sterile (Y/N) | Product materials Please also indicate whether your product includes any of the following: BPA, DEHP, PVC or Latex. | Single use ( S ), Defined life multi-use ( DL ) or Reusable ( R ) If defined life multi-use – please provide defined life details (eg DL-14 day indwelling time) | Are set/kit contents available as individual items? (Y/N or N/A) | If set/kit components are available for individual sale and have been submitted through this RFP please include the relevant product codes | Additional Comments

## Drop-downlist (hidden)
Individual Feeding Devices
Enteral & Oral syringes + syringe accessories
Feeding Device Accessories
Feeding Device Adaptors
Feeding Device Realated Bags and Containers
Feeding Tubes
Other

## Miscellaneous drop down (hidden)
Miscellaneous Equipment
Miscellaneous Equipment Spare Parts
Miscellaneous Equipment Accessories
Miscellaneous Equipment Consumables
Other Miscellaneous Feeding Device

## Miscellaneous
Other Miscellaneous Feeding Devices
Other Feeding Devices not specifically identified as 'in scope' or 'out of scope' as outlined in the primary RFP document
Medical Device Purchasing and Ordering Details | [13 empty] | Supply Chain | [5 empty] | Regulation and International Markets |  |  | New Zealand DHB Market Information | [6 empty] | Detailed product information
Supplier Name | Supplier Product Code | Brand/Trade Name (Brand name that appears on product/ product packaging) | Product Description (used on Purchase Orders) This is the product description used by your company to identify a product | UNSPSC Commodity # The 'UNSPSC + Subcategory' tab provides some example UNSPSC numbers | GS1 number (GTIN) if available | Is the product available on consignment? (Y/N) | Supplier Unit Of Measure (UOM) (eg Case) NB: This must reflect minimum order quantity for the product | Single Unit (eg see examples on other tabs) | Number of Single Units per Supplier UOM (eg 20) | Is the Supplier UOM different from how you have historically sold this product? (Y/N)-If yes, please describe how this differs from current supply (if product has not been sold into NZ DHBs put N/A) | Price Offer ($NZ) for PHARMAC Schedule Listing (per Supplier UOM) | Is pricing Free into Store? (Y/N) – if no detail | Is the price offered higher for some or all DHBs currently purchasing this product? (Y/N)- please provide rationale for increased price. (N/A if price is cost neutral, cost savings or product is not currently sold in NZ DHB Hospitals). | Manufacturer | Country of Manufacture | Primary warehouse location(s) (City, Country) (eg Auckland, New Zealand) | Do you currently hold stock of this item in New Zealand? (Y/N) if No, please indicate Lead Time to source item | Shelf life of product from date of manufacture- in months (eg 36 months) | Minimum shelf life of product at time of supply to DHBs (eg 18 months) | WAND registration number (You must be able to legally supply your proposed products to New Zealand DHB Hospitals as evidenced by WAND registration number. Where WAND is not applicable to a proposed product you must state the reason why it is not applicable) | List countries where product is in clinical use (eg Australia, US, UK, Japan) | Provide all applicable international compliance certificate numbers eg TGA,CE, FDA Include TGA/CE/FDA before each number provided Note: please provide copies of compliance certificates with RFP submission, if more than one type of certificate is available for a particular product/product range please supply only a single certificate in your submission with others available on request. | Is the product currently sold in NZ DHBs? (Y/N) | Total volume sold (UOM) to DHBs 1 Oct 17 - 30 Sep 18 (If no sales =0) | Total sales revenue in $NZ to DHBs 1 Oct 17 - 30 Sep 18 (If no sales =0) | If this product range is not used in New Zealand DHB hospitals, please provide 3 clinical reference sites where the product range is being used (provide Name of Hospital, Province, and Country) | Is this product already supplied under a PHARMAC agreement? (Y/N) | Has this product been submitted via another PHARMAC procurement process? (Y/N) If yes, please identify which process eg Interventional Radiology RFP) | Has this product been submitted via a New Zealand Health Partnerships procurement process? (Y/N) If yes, please identify which process | Subcategory (Choose from the drop down list below | Product type | If relevant please list Equipment Model(s) accessory/consumable is intended for, with Equipment product codes if known. (put N/A if not applicable) | Intended use (eg refer to examples on other tabs) | Full product description/specifications please include full product specifications and identify product features which differ within and between your product ranges, for kits please provide specifications for each kit item. For equipment you can provide full product specifications as an attachment to your proposal- please provide the name of any such attachment in the corresponding cell. (eg refer to examples on other tabs) | Does this product meet the ISO 80369-3:2016* standard? *small-bore connectors for enteral applications (Y/N or N/A) If No, does your company have future transition plans to meet this standard for this product-type?. if N/A- explain why this is not applicable to this product | Speciality department (as applicable) please identify if the product is intended to be used in a specific clinical setting eg NICU (if not state N/A) | Sterile (Y/N) | Product materials Please also indicate whether your product includes any of the following: BPA, DEHP, PVC or Latex. | Single use ( S ), Defined life multi-use ( DL ) or Reusable ( R ) If defined life multi-use – please provide defined life details (eg DL-14 day indwelling time) | Warranty period | Are set/kit contents available as individual items? (Y/N or N/A) | If set/kit contents are available and have been submitted through this RFP please include the relevant product codes) | Additional Comments