## Anaesthesia Machines
Anaesthesia Machines
Instructions:
Please do not alter the document format
Please submit this document in an Excel format (not PDF)
Where attachments (other than Schedule 4) are used to provide additional details, please submit in searchable PDF, Word or Excel format and refer to page number(s) of attachment in the relevant cell below
Please list all sizes in the range of products on a separate line (ie. Individual SKUs on different rows)
All prices to be submitted in $NZ
All prices to exclude GST. Free Into Store (FIS) delivery is the preferred pricing model.
All columns must be completed for every product submitted - do not leave any cells blank. If the requested information is not known please write TBC (to be confirmed)
Within scope: |  |  | Out of Scope
MRI compatable with ventilator |  |  | Products already listed in previous PHARMAC RFP'S
MRI compatable without ventilator
Low acuity with ventilator
Low acuity without ventilator
Mid acuity conventional with ventilator
Mid acuity electronic anaesthetic with ventilator
High acuity with ventilator
Supplier details |  |  |  |  | Product description details | [5 empty] | Product type |  |  |  |  | Power sources |  |  |  |  | Data storage |  |  |  | Device Specifics | [13 empty] | Pack sizes, Pricing, National DHB sales information and supply chain status | [10 empty] | Compliance and current DHB contract status
Supplier Name | Manufacturer Name | Country of Manufacture | Brand Name | Supplier Product Code | Full Product Description | UNSPSC Class number | UNSPSC Class Title | UNSPSC Commodity number | UNSPSC Commodity Title | Classification comments | Machine type - select from drop downs | Expected usable Life (in years) | Expected usable Life (in years) | Warranty | Ventilation Bellow/ Turbine/ Piston | AC voltage | Battery backup | Battery Cycle life if applicable | Battery recharge time (if applicable) | Battery backup time (in hours) if applicable | Data storage capability | WiFi / bluetooth capability for data exchange | SD Card capability for data exchange | USB connectivity for data exchange | Vent modes | Machine checklist | Flowmeters | Vaporizers | Breathing circuit | Scavenger interface | Electrical power failure | Patient Monitor included yes/no/optional | Includes patient monitor | 3th party monitoring capabilities | Current models sold with Vaporisers as standard | Which vaporisers are used per machine type | 3th party monitoring capabilities | comments - additional information | Supplier Unit Of Measure (UOM) eg. Box, Case, Each | Number of devices per UOM eg. 1, 5, 11 | Price Offer ($NZ) for PHARMAC Schedule Listing (per UOM) | Price Offer ($NZ) for PHARMAC Schedule Listing including a Patient Monitor | Current Minimum price to DHBs per supplier UOM | Current Maximum price to DHBs per supplier UOM | Annual Sales in $NZ to DHBs (from may 1 July 2016 to 30 June 2020) | Supplier UOM Current Annual Volumes to DHBs (from 1 July 2016 to 30 June 2020) | Stock Status (eg held in NZ warehouse, supplied ex Australia - state leadtime if stock not held in NZ) | Item available on Consignment? (use Drop downs Yes/No/Not Applicable) | Comments | State all applicable international compliance certificate numbers eg CE, FDA, TGA Note: Copies of all certificates listed must be included with RFP submission | WAND registration number Note: Do not include copies of WAND documents | GS1 number (GTIN) Not available = 1 | Reference sites (if applicable) | Is the product listed on a current DHB, health Alliance or PHARMAC contract? (select Yes or No) If Yes, list the contracted parties & expiry date in next column | Contracted parties & expiry date | Have you submitted this product in response to any other PHARMAC RFPs or Pharmaceutical Tenders? (Yes/No) If Yes, provide the RFP name/Tender date

## Anaesthesia Cons & Parts
Anaesthesia consumables and parts
Instructions:
Please do not alter the document format
Please submit this document in an Excel format (not PDF)
Where attachments (other than Schedule 4) are used to provide additional details, please submit in searchable PDF, Word or Excel format and refer to page number(s) of attachment in the relevant cell below
Please list all sizes in the range of products on a separate line (ie. Individual SKUs on different rows)
All prices to be submitted in $NZ
All prices to exclude GST. Free Into Store (FIS) delivery is the preferred pricing model.
All columns must be completed for every product submitted - do not leave any cells blank. If the requested information is not known please write TBC (to be confirmed)
Within scope: |  |  |  | Out of Scope
Spare parts and replacement batteries |  |  |  | Products already listed in previous PHARMAC RFP'S
Filters
Water chambers
CO2 Absorbers and Absorbents | [25 empty] | Yes
Sensors | [25 empty] | No
Other consumables not previously listed | [25 empty] | N/A
Other parts not previously listed
Supplier details |  |  |  |  | Product description details | [5 empty] | Product properties |  |  |  | Product History |  |  |  | Pack sizes, Pricing, National DHB sales information and supply chain status | [9 empty] | Compliance and current DHB contract status
Supplier Name | Manufacturer Name | Country of Manufacture | Brand Name | Supplier Product Code | Full Product Description | UNSPSC Class number | UNSPSC Class Title | UNSPSC Commodity number | UNSPSC Commodity Title | Classification comments | Product type | Size/Dimensions | product compatability | comments - additional information | Is the product new to NZ DHBs? (Y/N) | If yes please provide reference site details | Has this product been previously listed in the Pharmaceutical schedule? (Y/N) | If yes are you offering a different pricing structure? (Y/N) | Supplier Unit Of Measure (UOM) eg. Box, Case, Each | Number of devices per UOM eg. 1, 5, 11 | Price Offer ($NZ) for PHARMAC Schedule Listing (per UOM) | Current Minimum price to DHBs per supplier UOM | Current Maximum price to DHBs per supplier UOM | Annual Sales in $NZ to DHBs (from 1 April 2017 to 31 March 2018) | Supplier UOM Current Annual Volumes to DHBs (from 1 April 2017 to 31 March 2018) | Comments | Stock Status (eg held in NZ warehouse, supplied ex Australia - state leadtime if stock not held in NZ) | Item available on Consignment? (use Drop downs Yes/No/Not Applicable) | State all applicable international compliance certificate numbers eg CE, FDA, TGA Note: Copies of all certificates listed must be included with RFP submission | WAND registration number Note: Do not include copies of WAND documents | GS1 number (GTIN) Not available = 1 | Is the product listed on a current DHB, health Alliance or PHARMAC contract? (select Yes or No) If Yes, list the contracted parties & expiry date in next column | Contracted parties & expiry date | Have you submitted this product in response to any other PHARMAC RFPs or Pharmaceutical Tenders? (Yes/No) If Yes, provide the RFP name/Tender date

## Invasive Ventilators
Invasive Ventilators
Instructions:
Please do not alter the document format
Please submit this document in an Excel format (not PDF)
Where attachments (other than Schedule 4) are used to provide additional details, please submit in searchable PDF, Word or Excel format and refer to page number(s) of attachment in the relevant cell below
Please list all sizes in the range of products on a separate line (ie. Individual SKUs on different rows)
All prices to be submitted in $NZ
All prices to exclude GST. Free Into Store (FIS) delivery is the preferred pricing model.
All columns must be completed for every product submitted - do not leave any cells blank. If the requested information is not known please write TBC (to be confirmed)
Within scope: |  |  |  |  | Out of Scope
Invasive Ventilators (unit based neonatal / paedicatrics) |  |  |  |  | Products already listed in previous PHARMAC RFP'S
Invasive Ventilators (unit based )
Invasive Ventilators (transport/ portable use)
Invasive Ventilators - Community
Respiratory monitoring
Supplier details |  |  |  |  | Product description details | [5 empty] | Product type and dimensions | [5 empty] | Power sources |  |  |  |  | Data storage |  |  |  | Pressure settings and performance | [9 empty] | Pack sizes, Pricing, National DHB sales information and supply chain status | [9 empty] | Compliance and current DHB contract status
Supplier Name | Manufacturer Name | Country of Manufacture | Brand Name | Supplier Product Code | Full Product Description | UNSPSC Class number | UNSPSC Class Title | UNSPSC Commodity number | UNSPSC Commodity Title | Classification comments | Machine type - select from drop downs | Humidification - please note if built-in or state product compatibilty | Expected usable Life (in years) | Dimensions width x height x depth (in cm) | Weight (in Kg) | A-weighted Decibel rating when running (measured as dBA) | AC voltage | Battery backup - select from drop downs | Battery Cycle life if applicable | Battery recharge time (if applicable) | Battery backup time (in hours) if applicable | Data storage capability | WiFi / bluetooth capability for data exchange | SD Card capability for data exchange | USB connectivity for data exchange | Pressure settings range (in cm H²O) where applicable | Ramping feature | Exhalation pressure relief feature | Respiratory event detection | Leak compensation feature | Mask seal loss alerts | Altitude adjustment capability | Ventilation Bellow y/n | Ventilation Turbine y/n | Ventilation Piston y/n | Supplier Unit Of Measure (UOM) eg. Box, Case, Each | Number of devices per UOM eg. 1, 5, 11 | Price Offer ($NZ) for PHARMAC Schedule Listing (per UOM) | Current Minimum price to DHBs per supplier UOM | Current Maximum price to DHBs per supplier UOM | Annual Sales in $NZ to DHBs (from 1 April 2017 to 31 March 2018) | Supplier UOM Current Annual Volumes to DHBs (from 1 April 2017 to 31 March 2018) | Stock Status (eg held in NZ warehouse, supplied ex Australia - state leadtime if stock not held in NZ) | Item available on Consignment? (use Drop downs Yes/No/Not Applicable) | Comments | State all applicable international compliance certificate numbers eg CE, FDA, TGA Note: Copies of all certificates listed must be included with RFP submission | WAND registration number Note: Do not include copies of WAND documents | GS1 number (GTIN) Not available = 1 | Reference sites (if applicable) | Is the product listed on a current DHB, health Alliance or PHARMAC contract? (select Yes or No) If Yes, list the contracted parties & expiry date in next column | Contracted parties & expiry date | Have you submitted this product in response to any other PHARMAC RFPs or Pharmaceutical Tenders? (Yes/No) If Yes, provide the RFP name/Tender date

## In. Vent Cons & Parts
Invasive Ventilation Consumables and Parts
Instructions:
Please do not alter the document format
Please submit this document in an Excel format (not PDF)
Where attachments (other than Schedule 4) are used to provide additional details, please submit in searchable PDF, Word or Excel format and refer to page number(s) of attachment in the relevant cell below
Please list all sizes in the range of products on a separate line (ie. Individual SKUs on different rows)
All prices to be submitted in $NZ
All prices to exclude GST. Free Into Store (FIS) delivery is the preferred pricing model.
All columns must be completed for every product submitted - do not leave any cells blank. If the requested information is not known please write TBC (to be confirmed)
Within scope but not limited to: |  |  |  |  | Out of Scope
Breathing circuits |  |  |  |  | Products already listed in previous PHARMAC RFP'S
CO2 Measurement
Expiratory valve sets
Spare parts and replacement batteries
Adapters/ Filters and sensors
Nebulizers
Associated skin care and sealing products
Catheters
Carry bags and cases
Water chambers
Intubation consumables
Others
Supplier details |  |  |  |  | Product description details | [5 empty] | Product type | [9 empty] | Pack sizes, Pricing, National DHB sales information and supply chain status | [9 empty] | Compliance and current DHB contract status
Supplier Name | Manufacturer Name | Country of Manufacture | Brand Name | Supplier Product Code | Full Product Description | UNSPSC Class number | UNSPSC Class Title | UNSPSC Commodity number | UNSPSC Commodity Title | Classification comments | Disposable or re-usable | Autoclavable upto | Expected usable life (if applicable) | Category (use dropbox) | Product compatability | Is the product new to NZ DHBs? (Y/N) | If yes please provide reference site details | Has this product been previously listed in the Pharmaceutical schedule? (Y/N) | If yes are you offering a different pricing structure? (Y/N) | comments - additional information | Supplier Unit Of Measure (UOM) eg. Box, Case, Each | Number of devices per UOM eg. 1, 5, 11 | Price Offer ($NZ) for PHARMAC Schedule Listing (per UOM) | Current Minimum price to DHBs per supplier UOM | Current Maximum price to DHBs per supplier UOM | Annual Sales in $NZ to DHBs (from 1 April 2017 to 31 March 2018) | Supplier UOM Current Annual Volumes to DHBs (from 1 April 2017 to 31 March 2018) | Comments | Stock Status (eg held in NZ warehouse, supplied ex Australia - state leadtime if stock not held in NZ) | Item available on Consignment? (use Drop downs Yes/No/Not Applicable) | State all applicable international compliance certificate numbers eg CE, FDA, TGA Note: Copies of all certificates listed must be included with RFP submission | WAND registration number Note: Do not include copies of WAND documents | GS1 number (GTIN) Not available = 1 | Reference sites (if applicable) | Is the product listed on a current DHB, health Alliance or PHARMAC contract? (select Yes or No) If Yes, list the contracted parties & expiry date in next column | Contracted parties & expiry date | Have you submitted this product in response to any other PHARMAC RFPs or Pharmaceutical Tenders? (Yes/No) If Yes, provide the RFP name/Tender date

## Neonatal Care
Neonatal care devices
Instructions:
Please do not alter the document format
Please submit this document in an Excel format (not PDF)
Where attachments (other than Schedule 4) are used to provide additional details, please submit in searchable PDF, Word or Excel format and refer to page number(s) of attachment in the relevant cell below
Please list all sizes in the range of products on a separate line (ie. Individual SKUs on different rows)
All prices to be submitted in $NZ
All prices to exclude GST. Free Into Store (FIS) delivery is the preferred pricing model.
All columns must be completed for every product submitted - do not leave any cells blank. If the requested information is not known please write TBC (to be confirmed)
Within scope: |  |  | Out of Scope
jaundice Management |  |  | Products already listed in previous PHARMAC RFP'S
Incubators - Transport
Incubators - Open
Incubators - Closed
Other
Supplier details |  |  |  |  | Product description details | [5 empty] | Product type |  |  |  |  | Power sources |  |  |  |  | Data storage |  |  |  | Device Specifics | [13 empty] | Pack sizes, Pricing, National DHB sales information and supply chain status | [10 empty] | Compliance and current DHB contract status
Supplier Name | Manufacturer Name | Country of Manufacture | Brand Name | Supplier Product Code | Full Product Description | UNSPSC Class number | UNSPSC Class Title | UNSPSC Commodity number | UNSPSC Commodity Title | Classification comments | Machine type - select from drop downs | Expected usable Life (in years) | Expected usable Life (in years) | Warranty | Ventilation Bellow/ Turbine/ Piston | AC voltage | Battery backup | Battery Cycle life if applicable | Battery recharge time (if applicable) | Battery backup time (in hours) if applicable | Data storage capability | WiFi / bluetooth capability for data exchange | SD Card capability for data exchange | USB connectivity for data exchange | Vent modes | Machine checklist | Flowmeters | Vaporizers | Breathing circuit | Scavenger interface | Electrical power failure | Patient Monitor included yes/no/optional | Includes patient monitor | 3th party monitoring capabilities | Current models sold with Vaporisers as standard | Which vaporisers are used per machine type | 3th party monitoring capabilities | comments - additional information | Supplier Unit Of Measure (UOM) eg. Box, Case, Each | Number of devices per UOM eg. 1, 5, 11 | Price Offer ($NZ) for PHARMAC Schedule Listing (per UOM) | Price Offer ($NZ) for PHARMAC Schedule Listing including a Patient Monitor | Current Minimum price to DHBs per supplier UOM | Current Maximum price to DHBs per supplier UOM | Annual Sales in $NZ to DHBs (from may 1 July 2016 to 30 June 2020) | Supplier UOM Current Annual Volumes to DHBs (from 1 July 2016 to 30 June 2020) | Stock Status (eg held in NZ warehouse, supplied ex Australia - state leadtime if stock not held in NZ) | Item available on Consignment? (use Drop downs Yes/No/Not Applicable) | Comments | State all applicable international compliance certificate numbers eg CE, FDA, TGA Note: Copies of all certificates listed must be included with RFP submission | WAND registration number Note: Do not include copies of WAND documents | GS1 number (GTIN) Not available = 1 | Reference sites (if applicable) | Is the product listed on a current DHB, health Alliance or PHARMAC contract? (select Yes or No) If Yes, list the contracted parties & expiry date in next column | Contracted parties & expiry date | Have you submitted this product in response to any other PHARMAC RFPs or Pharmaceutical Tenders? (Yes/No) If Yes, provide the RFP name/Tender date

## Neonatal Cons & Parts
Neonatal care Consumables and Parts
Instructions:
Please do not alter the document format
Please submit this document in an Excel format (not PDF)
Where attachments (other than Schedule 4) are used to provide additional details, please submit in searchable PDF, Word or Excel format and refer to page number(s) of attachment in the relevant cell below
Please list all sizes in the range of products on a separate line (ie. Individual SKUs on different rows)
All prices to be submitted in $NZ
All prices to exclude GST. Free Into Store (FIS) delivery is the preferred pricing model.
All columns must be completed for every product submitted - do not leave any cells blank. If the requested information is not known please write TBC (to be confirmed)
Within scope but not limited to: |  |  |  |  | Out of Scope
Consumables |  |  |  |  | Products already listed in previous PHARMAC RFP'S
Parts
Spare parts
Docking stations
Supplier details |  |  |  |  | Product description details | [5 empty] | Product type | [9 empty] | Pack sizes, Pricing, National DHB sales information and supply chain status | [9 empty] | Compliance and current DHB contract status
Supplier Name | Manufacturer Name | Country of Manufacture | Brand Name | Supplier Product Code | Full Product Description | UNSPSC Class number | UNSPSC Class Title | UNSPSC Commodity number | UNSPSC Commodity Title | Classification comments | Disposable or re-usable | Autoclavable upto | Expected usable life (if applicable) | Category (use dropbox) | Product compatability | Is the product new to NZ DHBs? (Y/N) | If yes please provide reference site details | Has this product been previously listed in the Pharmaceutical schedule? (Y/N) | If yes are you offering a different pricing structure? (Y/N) | comments - additional information | Supplier Unit Of Measure (UOM) eg. Box, Case, Each | Number of devices per UOM eg. 1, 5, 11 | Price Offer ($NZ) for PHARMAC Schedule Listing (per UOM) | Current Minimum price to DHBs per supplier UOM | Current Maximum price to DHBs per supplier UOM | Annual Sales in $NZ to DHBs (from 1 April 2017 to 31 March 2018) | Supplier UOM Current Annual Volumes to DHBs (from 1 April 2017 to 31 March 2018) | Comments | Stock Status (eg held in NZ warehouse, supplied ex Australia - state leadtime if stock not held in NZ) | Item available on Consignment? (use Drop downs Yes/No/Not Applicable) | State all applicable international compliance certificate numbers eg CE, FDA, TGA Note: Copies of all certificates listed must be included with RFP submission | WAND registration number Note: Do not include copies of WAND documents | GS1 number (GTIN) Not available = 1 | Reference sites (if applicable) | Is the product listed on a current DHB, health Alliance or PHARMAC contract? (select Yes or No) If Yes, list the contracted parties & expiry date in next column | Contracted parties & expiry date | Have you submitted this product in response to any other PHARMAC RFPs or Pharmaceutical Tenders? (Yes/No) If Yes, provide the RFP name/Tender date

## High End Pat. Monitoring
High end Patient Monitoring devices
Instructions:
Please do not alter the document format
Please submit this document in an Excel format (not PDF)
Where attachments (other than Schedule 4) are used to provide additional details, please submit in searchable PDF, Word or Excel format and refer to page number(s) of attachment in the relevant cell below
Please list all sizes in the range of products on a separate line (ie. Individual SKUs on different rows)
All prices to be submitted in $NZ
All prices to exclude GST. Free Into Store (FIS) delivery is the preferred pricing model.
All columns must be completed for every product submitted - do not leave any cells blank. If the requested information is not known please write TBC (to be confirmed)
Within scope: |  |  | Out of Scope
Critical care patient monitoring |  |  | Products already listed in previous PHARMAC RFP'S
Docking stations
IT connectivity systems
Telemetry
Supplier details |  |  |  |  | Product description details | [5 empty] | Product type |  |  |  |  | Power sources |  |  |  |  | Data storage |  |  |  |  | Pack sizes, Pricing, National DHB sales information and supply chain status | [10 empty] | Compliance and current DHB contract status
Supplier Name | Manufacturer Name | Country of Manufacture | Brand Name | Supplier Product Code | Full Product Description | UNSPSC Class number | UNSPSC Class Title | UNSPSC Commodity number | UNSPSC Commodity Title | Classification comments | Machine type - select from drop downs | Expected usable Life (in years) | Expected usable Life (in years) | Warranty | Ventilation Bellow/ Turbine/ Piston | AC voltage | Battery backup | Battery Cycle life if applicable | Battery recharge time (if applicable) | Battery backup time (in hours) if applicable | Data storage capability | WiFi / bluetooth capability for data exchange | SD Card capability for data exchange | USB connectivity for data exchange | comments - additional information | Supplier Unit Of Measure (UOM) eg. Box, Case, Each | Number of devices per UOM eg. 1, 5, 11 | Price Offer ($NZ) for PHARMAC Schedule Listing (per UOM) | Price Offer ($NZ) for PHARMAC Schedule Listing including a Patient Monitor | Current Minimum price to DHBs per supplier UOM | Current Maximum price to DHBs per supplier UOM | Annual Sales in $NZ to DHBs (from may 1 July 2016 to 30 June 2020) | Supplier UOM Current Annual Volumes to DHBs (from 1 July 2016 to 30 June 2020) | Stock Status (eg held in NZ warehouse, supplied ex Australia - state leadtime if stock not held in NZ) | Item available on Consignment? (use Drop downs Yes/No/Not Applicable) | Comments | State all applicable international compliance certificate numbers eg CE, FDA, TGA Note: Copies of all certificates listed must be included with RFP submission | WAND registration number Note: Do not include copies of WAND documents | GS1 number (GTIN) Not available = 1 | Reference sites (if applicable) | Is the product listed on a current DHB, health Alliance or PHARMAC contract? (select Yes or No) If Yes, list the contracted parties & expiry date in next column | Contracted parties & expiry date | Have you submitted this product in response to any other PHARMAC RFPs or Pharmaceutical Tenders? (Yes/No) If Yes, provide the RFP name/Tender date

## PM Cons & Parts
High end Patient monitoring Consumables and Parts
Instructions:
Please do not alter the document format
Please submit this document in an Excel format (not PDF)
Where attachments (other than Schedule 4) are used to provide additional details, please submit in searchable PDF, Word or Excel format and refer to page number(s) of attachment in the relevant cell below
Please list all sizes in the range of products on a separate line (ie. Individual SKUs on different rows)
All prices to be submitted in $NZ
All prices to exclude GST. Free Into Store (FIS) delivery is the preferred pricing model.
All columns must be completed for every product submitted - do not leave any cells blank. If the requested information is not known please write TBC (to be confirmed)
Within scope but not limited to: |  |  |  |  | Out of Scope
Cuffs |  |  |  |  | Products already listed in previous PHARMAC RFP'S
Docking stations
ECG lines
CO2 lines
Clamps
Consumables
Parts
Spare parts
Supplier details |  |  |  |  | Product description details | [5 empty] | Product type | [9 empty] | Pack sizes, Pricing, National DHB sales information and supply chain status | [9 empty] | Compliance and current DHB contract status
Supplier Name | Manufacturer Name | Country of Manufacture | Brand Name | Supplier Product Code | Full Product Description | UNSPSC Class number | UNSPSC Class Title | UNSPSC Commodity number | UNSPSC Commodity Title | Classification comments | Disposable or re-usable | Autoclavable upto | Expected usable life (if applicable) | Category (use dropbox) | Product compatability | Is the product new to NZ DHBs? (Y/N) | If yes please provide reference site details | Has this product been previously listed in the Pharmaceutical schedule? (Y/N) | If yes are you offering a different pricing structure? (Y/N) | comments - additional information | Supplier Unit Of Measure (UOM) eg. Box, Case, Each | Number of devices per UOM eg. 1, 5, 11 | Price Offer ($NZ) for PHARMAC Schedule Listing (per UOM) | Current Minimum price to DHBs per supplier UOM | Current Maximum price to DHBs per supplier UOM | Annual Sales in $NZ to DHBs (from 1 April 2017 to 31 March 2018) | Supplier UOM Current Annual Volumes to DHBs (from 1 April 2017 to 31 March 2018) | Comments | Stock Status (eg held in NZ warehouse, supplied ex Australia - state leadtime if stock not held in NZ) | Item available on Consignment? (use Drop downs Yes/No/Not Applicable) | State all applicable international compliance certificate numbers eg CE, FDA, TGA Note: Copies of all certificates listed must be included with RFP submission | WAND registration number Note: Do not include copies of WAND documents | GS1 number (GTIN) Not available = 1 | Reference sites (if applicable) | Is the product listed on a current DHB, health Alliance or PHARMAC contract? (select Yes or No) If Yes, list the contracted parties & expiry date in next column | Contracted parties & expiry date | Have you submitted this product in response to any other PHARMAC RFPs or Pharmaceutical Tenders? (Yes/No) If Yes, provide the RFP name/Tender date